Contents

	Introduction	3

	Objective of the SOP Manual	3

	Scope of the Manual	3

	Core Values of the SOP Manual	4

1.	Waste Management	6

2.	Hazardous Waste management	15

3.	Integrated Water Management Procedures	31

4.	Air Emissions and Environmental Nuisance Control	39

5.	Product use and End-of-Life Management	48

6.	Safe Handling of Chemicals	54

7.	Energy Management Measures	61

8.	Sustainable Sourcing Manual	65

9.	Customer Health & Safety Measures	69

10.	Recruitment Procedure	75

11.	Employee Performance Evaluation and Career Progression     Framework	80

12.	Human Rights Protection Procedures	85

13.	Internal Communication Protocol	90

14.	Emergency Preparedness & Response for Environment, Health & Safety	94

15.	Sensitive Transaction Approval and Management Protocol	101

16.	Confidential Data Management and record retention	105

17.	Incident Response Procedure	112

18.	Internal Assessment Procedure	116

19.	Third-Party Ethical Compliance Due Diligence	120

# Introduction

Praveen Laboratories is a research-driven contract organization and Active Pharmaceutical Ingredient (API) manufacturer that delivers high-quality pharmaceutical and chemical services. The company is committed to scientific excellence, regulatory compliance, and client satisfaction. This Standard Operating Procedure (SOP) Manual has been developed to ensure consistent practices across departments and to uphold the highest standards of safety, quality, and operational efficiency.

This manual serves as a guiding framework for all employees, managers, and technical personnel involved in various functions at Praveen Laboratories. It outlines documented procedures, promotes regulatory alignment, and reinforces a culture of accountability and continuous improvement within the organization.

# Objective of the SOP Manual

The primary objective of this SOP Manual is to:

- Define uniform procedures and best practices across all operations at Praveen Laboratories.

- Ensure compliance with applicable regulatory requirements such as Good Manufacturing Practices (GMP), ISO standards, and environmental norms.

- Minimize process variability and enhance the quality, safety, and efficiency of services delivered.

- Provide clear guidance to all staff for performing their tasks with consistency and accuracy.

- Serve as a foundational reference for audits, inspections, training, and quality control.

# Scope of the Manual

This manual applies to all departments within Praveen Laboratories, including but not limited to:

- Research and Development (R&D)

- Quality Control (QC)

- Quality Assurance (QA)

- Production and Formulation

- Regulatory Affairs

- Environmental Health & Safety (EHS)

- Procurement and Inventory Management

- Human Resources and Administration

This applies to all locations where Praveen Laboratories operates, and to all employees, contractors, stakeholders, customers, and anyone directly or indirectly associated with Praveen Laboratories.

# Core Values of the SOP Manual

Praveen Laboratories operates on a foundation of core values that are reflected in every SOP outlined in this manual. These include:

- Integrity: Upholding ethical conduct and honesty in all laboratory and business practices.

- Quality: Commitment to delivering scientifically sound, accurate, and reproducible results.

- Safety: Prioritizing the health and safety of personnel, clients, and the environment.

- Innovation: Embracing advanced technologies and methods to deliver cutting-edge solutions.

- Accountability: Ensuring ownership, responsibility, and traceability at all stages of work.

- Customer-Centricity: Providing responsive, flexible, and value-driven services to clients.

- Compliance: Adhering strictly to legal, regulatory, and industry standards.

- Sustainability: Promoting eco-friendly practices and minimizing environmental impact.

# Waste Management

- Introduction

Praveen Laboratories is committed to minimizing its environmental impact through a structured and efficient approach to materials usage and waste management. This SOP outlines best practices in responsible sourcing, waste minimization, process optimization, and end-of-life treatment of materials. The intent is to embed sustainability into the operational DNA of the organization, ensuring regulatory compliance and contributing to a circular economy.

- Objectives

- To minimize material consumption through process efficiency and innovation.

- To identify, segregate, and manage waste in accordance with national regulations and environmental standards.

- To implement circular practices such as material recovery and reuse.

- To ensure all employees are accountable for maintaining environmentally responsible practices.

- To support ISO 14001 Environmental Management System implementation.

- Applicability & Coverage

This procedure applies to:

- All departments at Praveen Laboratories, including R&D, QC, production support, administration, and utilities.

- All departments (R&D, QC, Production Support, Administration, Maintenance, Utilities).

- All categories of waste generated (solid, liquid, chemical, biomedical, recyclable).

- All personnel involved in material handling, inventory, waste disposal, or procurement.

- Organizational Responsibilities

| Role | Responsibility |
| --- | --- |
| EHS Department | - Waste segregation and identification of disposal areas. - Monitor safe waste handling daily. - Coordinate with authorized vendors. - Train staff and ensure PPE availability. |
| HR & Admin Head / Designee | - Ensure waste is handled per protocol before sending for disposal. - Provide the required PPE’s while handling of solid waste. |
| Concerned Department Head | - Train all concern persons for handling of waste Disposal. - Indent / Request for required PPE’s as per requirement. |
| Store/Warehouse | - Label, store, and maintain waste containers. - Ensure packaging is correct and labeled. |

- Mapping of Waste Streams

The following table represents current waste stream mapping at Praveen Laboratories:

| Type of Waste | Source Area(s) | Disposal Type |
| --- | --- | --- |
| Used solvents | R&D Labs | Hazardous Waste Disposal (Authorized Vendor) |
| Chemical sludges | R&D Labs | Hazardous Waste Disposal (Authorized Vendor) |
| Spent charcoal | R&D Labs | Incineration / TSDF |
| Chemicals for disposal/incineration | R&D Labs, Production Area | Incineration / TSDF |
| Distillation residue | R&D Labs, Production Area | TSDF / Secure Landfilling |
| Glass vials | QC Department | Recycling |
| Paper waste | QC Dept, Cafeteria/Admin, Housekeeping, Security Gate, Packaging | Recycling / Municipal Collection |
| Plastic | QC Dept, Cafeteria/Admin, Housekeeping, Security Gate | Recycling / Municipal Collection |
| Polyethylene items | QC Dept, Cafeteria/Admin, Packaging Section | Recycling |
| Organic waste | Cafeteria/Admin | Composting / Municipal Collection |
| Used oil | Maintenance, Engineering Workshop, Utility/Engineering | Authorized Oil Recycling |
| Lubricants | Maintenance, Engineering Workshop, Utility/Engineering | Authorized Oil Recycling |
| Scrap metal | Maintenance, Engineering Workshop | Metal Recycling |
| Damaged pipes | Maintenance | Scrap Metal Recovery |
| Drums and carboys | QC Dept, Maintenance, Warehouse/Stores | Reuse / Recycling / Decontamination & Disposal |
| Utility waste | Utility/Engineering | TSDF / Authorized Disposal Facility |
| ETP sludge | Utility/Engineering | TSDF / Secure Landfilling |
| E-waste | IT/Admin, Security Gate | Authorized E-waste Recycling |
| Damaged equipment and instruments | QC Dept, Warehouse/Stores | E-waste / Scrap Disposal |
| Damaged tools | Engineering Workshop | Scrap Metal Recycling |
| Rejected packaging material | Packaging Section | Recycling |
| Cartons | Packaging Section | Recycling |
| Broken cleaning tools | Housekeeping | Scrap / Municipal Disposal |
| Plastic water bottles | Security Gate / Office | Recycling |

- Waste Categorization

| Category | Description |
| --- | --- |
| Hazardous Waste | Solvents, chemical sludges, spent charcoal, toxic reagents, corrosive liquids, distillation residue, chemicals for incineration |
| Non-Hazardous Waste | Office waste, packaging materials, non-contaminated lab consumables, broken tools |
| Recyclable Waste | Paper, cardboard, polyethylene, plastic bottles, glass vials, scrap metal, drums and carboys |
| Bio-Medical Waste | Swabs, PPE kits, contaminated gloves, lab disposables requiring incineration |
| E-Waste | Obsolete computers, electronic devices, damaged instruments, batteries |
| Organic Waste | Food leftovers, biodegradable waste from cafeteria or pantry |

- Waste Segregation Protocol

Praveen Laboratories ensures systematic and compliant waste segregation at the point of generation to minimize environmental impact, ensure worker safety, and support regulatory compliance.

- Color-Coded Bin System

Color-coded bins are strategically deployed across all functional areas, including laboratories, administrative offices, cafeteria, warehouses, production, and maintenance zones. The bin system is standardized as follows:

- Red Bin – For Hazardous Chemical Waste such as solvents, contaminated containers, chemical sludges, and laboratory reagents.

- Blue Bin – For Recyclable Waste including plastic bottles, polyethylene packaging, glass vials, and clean scrap metal items.

- Yellow Bin – For Bio-Medical Waste like used PPE kits, swabs, contaminated gloves, and lab disposables requiring incineration.

- Green Bin – For Organic Waste such as food scraps, biodegradable disposables, and canteen waste.

All bins are clearly marked with durable labels in both English and the local language to facilitate understanding among all staff and contract workers.

- Staff Training and Awareness

- Mandatory segregation training is conducted every 6 months for all employees and housekeeping personnel.

- Sessions include demonstrations, posters, mock drills, and scenario-based discussions to reinforce practical understanding.

- New joiners receive training during onboarding, and regular refresher modules are circulated via internal communication channels.

- Bin Maintenance and Monitoring

- Bins are cleaned and inspected daily by housekeeping supervisors.

- Waste is collected and transferred to temporary storage zones by trained personnel using designated trolleys to avoid cross-contamination.

- Damaged or mislabelled bins are replaced immediately to avoid segregation failure.

- Compliance

- Praveen Laboratories ensures full alignment with all applicable national environmental and waste handling regulations relevant to laboratory operations.

- Practices are designed in accordance with recognized environmental management standards, ensuring responsible disposal, chemical safety, and pollution prevention.

- Annual third-party audits are conducted to verify regulatory and procedural compliance, and findings are documented transparently.

- In the event of any compliance deviation, a root-cause analysis is promptly initiated, and corrective and preventive actions (CAPA) are implemented within a defined turnaround time.

- Internal reviews and training sessions are held periodically to ensure ongoing staff awareness and continuous improvement in compliance practices.

- 5R Approach for Waste Reduction in API Manufacturing

Praveen Laboratories applies the 5R strategy — Reduce, Reuse, Recycle, Recovery, and Repurpose — to drive sustainable production practices, minimize environmental footprint, and improve process economics across its API manufacturing lifecycle.

1. Reduce

- Optimized Process Chemistry: Synthesis routes are selected during R&D based on their atom economy, yield efficiency, and minimal generation of by-products, reducing downstream waste.

- Real-Time Monitoring: In-line sensors and PAT tools (e.g., pH, IR, temp) help monitor critical process parameters and reduce the chances of batch failure or reprocessing, thereby lowering chemical and energy waste.

- Inventory Optimization: Raw materials and solvents are procured in calculated volumes, following FEFO principles and digital stock tracking, minimizing expiration and spoilage-related waste.

- Dry Cleaning Preference: Mechanical and dry cleaning methods (e.g., air jets, vacuuming) are preferred before wet cleaning of equipment to reduce effluent generation.

- Process Optimization for Waste Reduction: We continuously undertakes structured process optimization to minimize raw material use, energy input, and waste output across all production stages. Strategies include simplification of synthesis pathways to reduce intermediate steps, transition to high-efficiency reactors and utility systems, and deployment of advanced control systems for real-time process adjustment. Batch planning is streamlined through lean manufacturing principles, minimizing idle time, changeover losses, and partial batches. These collective measures significantly reduce generation of off-spec products, solvent consumption, and associated emissions, thereby enhancing both operational efficiency and environmental performance.

2. Reuse

- Solvent Reuse in Cleaning: IPA, acetone, and toluene recovered from cleaning operations are tested for purity and reused in initial rinse cycles for reactors and pipelines.

- Reusable Containers: Non-contaminated HDPE carboys, once emptied, are thoroughly washed, QC-checked, and reused internally for transferring utility fluids and non-hazardous solutions.

- Reusable Secondary Packaging: Thermocol, bubble wrap, and pallet covers from incoming materials are collected and reused for internal shipments and cushioning during in-house transfers.

- Reusable PPE in Non-GMP Areas: Cleanroom garments and goggles used in non-critical areas are cleaned and reused through validated laundering processes.

3. Recycle

- Segregated Recycling Zones: Each department maintains dedicated bins for paper, plastic, metal, and glass, ensuring uncontaminated segregation for easy dispatch to authorized recyclers.

- Metallic Scrap Recovery: Reactor internals, worn-out valves, dismantled frames, and scrap piping are sent for metal recycling through licensed scrap vendors.

- Paper & Admin Waste: Office-generated paper waste from documentation and packaging cartons are baled and sent to local recyclers monthly.

- QC Glassware Disposal: Damaged or expired glass vials and pipettes from the QC lab are decontaminated, crushed, and directed for glass recycling.

4. Recovery

- Solvent Distillation Units: Multi-stage distillation systems recover high-purity solvents, which are reused within the same product line or repurposed for plant cleaning operations.

- Energy Recovery from Waste Heat: Reactor and distillation unit jackets are integrated with heat exchangers to transfer residual heat to preheat incoming utilities like boiler feed water.

- Mother Liquor Re-entry: In selected processes, validated mother liquors containing residual APIs or intermediates are reused in the next crystallization stage to improve yield and reduce waste volume.

- ETP Sludge Co-processing: Filtered and dried sludge with fuel value is sent to cement industries for co-processing, avoiding landfill and utilizing its calorific potential.

- Wastewater Recovery: Treated effluent from STP/ETP is reused in cooling towers, floor washing, or utility purposes wherever compliance allows.

5. Repurpose

- Damaged Barrels as Collection Bins: Leaky or deformed drums that cannot be reused for storage are converted into labeled collection bins for solid or segregated wastes.

- Scrap Wood Reuse in Maintenance: Discarded wooden pallets are cut and reused in the maintenance department for creating tool racks, supports, and wooden shims.

- Obsolete Equipment for Demo Use: Decommissioned lab and plant equipment is repurposed as demonstration units in training labs for technical staff and apprentices.

- Continuous Improvement

Praveen Laboratories fosters a culture of continuous improvement in its waste management practices. All departments are encouraged to identify opportunities that further reduce waste generation, enhance material recovery, or improve segregation efficiency.

# Hazardous Waste management

- Introduction

We recognizes the potential environmental and health risks associated with hazardous waste generated during API manufacturing and laboratory operations. This SOP establishes a structured and compliant framework for the identification, handling, storage, transportation, and final disposal of hazardous waste. It ensures that such waste is managed responsibly, in line with applicable legal requirements, to prevent pollution, occupational hazards, and regulatory non-compliance.

Aligned with national regulations such as the Hazardous and Other Wastes (Management and Transboundary Movement) Rules, 2016, and ISO 14001:2015 principles, the SOP ensures that all hazardous waste is managed in a manner that minimizes environmental impact, promotes material recovery, and upholds employee safety.

- Objectives

- To ensure safe, compliant, and traceable handling of all hazardous waste generated on-site.

- To implement structured protocols for the labeling, containment, and storage of hazardous substances.

- To reduce hazardous waste generation through process improvements and material substitution.

- To establish clear roles and responsibilities for hazardous waste handling and disposal.

- To support adherence to national laws, CPCB/SPCB guidelines, and ISO 14001 environmental standards.

- Applicability & Coverage

This SOP applies to:

- All functional departments involved in the generation, storage, or handling of hazardous waste (R&D, Production, QC, ETP, Maintenance, Warehouse, etc.).

- All forms of hazardous waste, including used solvents, sludges, distillation residues, contaminated PPE, reactive chemicals, and cleaning agents.

- All employees, contract staff, and third-party vendors involved in waste management and transportation activities.

- Organizational Responsibilities

| Role | Responsibility |
| --- | --- |
| EHS Department | • Identify and classify hazardous waste streams. • Ensure safe storage, handling, and labeling of hazardous materials. • Coordinate with CPCB/SPCB authorized disposal vendors. • Maintain documentation and manifest records. • Provide mandatory PPE and conduct safety training. |
| Department Heads | • Ensure department-wise compliance with hazardous waste protocols. • Nominate responsible persons for hazardous waste handling. • Report any spillage, leak, or unsafe condition to EHS immediately. |
| Warehouse/Stores | • Provide and maintain compliant containers for hazardous waste storage. • Ensure containers are labeled and leak-proof. • Restrict unauthorized access to hazardous storage areas. |
| HR/Admin | • Coordinate training on hazardous waste awareness and emergency handling. • Support in the procurement of PPE, spill kits, and storage infrastructure. |
| All Personnel | • Follow safety instructions while handling hazardous waste. • Use PPE as instructed. • Report any unsafe handling or improper disposal to the supervisor or EHS team. |

- Use of Sustainable raw materials

Praveen Laboratories actively integrates circular economy principles into its hazardous waste management framework by prioritizing the recovery and reuse of valuable input materials and shifting toward eco-friendly alternatives wherever technically feasible.

- Recovery of Input Materials

- Solvent Reclamation Units (SRUs) are installed in production blocks and QC labs. Spent solvents like IPA, methanol, ethyl acetate, and toluene are collected in dedicated drums and processed through multi-stage distillation units.

- Mother liquors from crystallization processes are analyzed and reused based on API stability profiles, especially in early-stage reactions.

- Recovered silica and charcoal from filtration units are dried, tested for reusability, and reused in subsequent filtration steps where purity allows.

- Side stream reuse from continuous processes (e.g., purge streams containing residual active) are captured and reintegrated via feedback loops after QC clearance.

- Wash solvents from intermediate cleaning stages are collected and analyzed for cross-contamination risk; if within control limits, they are reused in non-critical washing applications.

- Excess buffer solutions and pH-adjusted aqueous streams are recovered and reused in utilities or cleaning-in-place (CIP) operations after quality checks.

- Adoption of Eco-Friendly Raw Materials

- Green chemistry audits are performed annually to identify process steps that can be modified to use biodegradable solvents or less toxic reagents.

- Citric acid, sodium citrate, and ascorbic acid are adopted as neutralizing agents in place of hydrochloric or sulfuric acid during equipment cleaning cycles.

- Bio-based cleaners and low-VOC surface disinfectants are used in non-critical plant areas (e.g., warehouses and corridors).

- Plant-derived co-solvents like ethyl lactate are evaluated for use in API crystallization and granulation stages where compatibility permits.

- Phosphate-free detergents and enzyme-based degreasers are introduced in CIP cycles to minimize aquatic toxicity.

- Water-based degreasing agents are adopted for equipment and tool cleaning in maintenance workshops to replace petroleum-based solvents.

- Preference is given to GMP-compliant suppliers who provide materials in recyclable or reusable packaging (returnable drums, collapsible IBCs).

- Use of Alternative and Less Hazardous Substances

- Wherever feasible, Class 1 and Class 2 solvents are substituted with Class 3 solvents as per ICH guidelines to reduce health and environmental risks.

- Halogenated compounds are phased out from synthetic pathways unless technically unavoidable, with alternatives vetted through a risk-benefit and performance matrix.

- Process modifications are implemented to replace reagents with high GHS hazard categories (acute toxicity, skin sensitization) with safer analogues such as enzymatic catalysts or aqueous-based systems.

- In high-temperature reactions, mineral acids are replaced with solid acid catalysts or ionic liquids to reduce corrosive emissions and hazardous effluent.

- Procurement Strategy for Safer Substitutes

- The procurement team follows a structured substitution-first policy, wherein vendor selection prioritizes suppliers offering less hazardous substitutes certified under globally recognized green chemistry or REACH compliance standards.

- Procurement contracts mandate assessment of material hazard classifications, environmental fate, and life cycle impacts during the sourcing stage.

- Supplier performance reviews include sustainability and hazard reduction metrics as core evaluation criteria, promoting long-term collaboration with environmentally responsible vendors.

- Labelling, Storage, Handling & Transport Protocols

Proper identification, safe containment, and compliant movement of hazardous waste are essential for minimizing the risk of chemical exposure, spills, fire, environmental damage, and legal non-compliance. Praveen Laboratories has established rigorous protocols aligned with the Hazardous and Other Wastes (Management and Transboundary Movement) Rules, 2016 and other applicable standards to ensure operational and regulatory control.

- Labelling System

Each hazardous waste container—drum, carboy, IBC, or bag—is labeled at the point of generation and remains traceable until final disposal.

Labelling Standards: All hazardous substances must be labeled in full compliance with GHS (Globally Harmonized System) or BIS (Bureau of Indian Standards). Labels must include:

Label Requirements (Printed, laminated, weatherproof):

- Material/Waste Stream Name (e.g., Spent IPA, ETP Sludge)

- Chemical Composition / Primary Hazardous Constituents

- Physical State (solid/liquid/sludge/gas)

- Hazard Class Symbols: Flammable, Corrosive, Toxic, Reactive (GHS-compatible)

- Generator Department & Contact Person

- Accumulation Start Date & Storage Expiry Limit (Max 90 days)

- Waste Quantity: Gross weight, net weight, and tare weight

- Disposal Method: (e.g., TSDF/Incineration/Recovery)

- Container No. and Barcode

Label Implementation Notes:

- All labels are bilingual (English + local language).

- The Waste Manifest Management System (WMMS) logs each barcode into the centralized EHS database.

- Labels are color-coded:

  - Red Border – Toxic Waste

  - Orange Border – Flammable Waste

  - Yellow Border – Reactive Waste

  - Black Border – Corrosive Waste

In case of container reuse (e.g., drum washing), old labels are removed, destroyed, and reissued to prevent incorrect identification.

- Storage Practices

Hazardous waste is stored in dedicated, secure, and well-equipped storage yards designed to eliminate cross-contamination, accidental mixing, and environmental exposure.

- Physical Infrastructure: Acid- and Alkali-Resistant Flooring: Coated concrete with chemical-resistant epoxy.

- Bund Walls: 110% secondary containment for the largest container in each storage area.

- Flame Detectors & Smoke Sensors: Linked to the central fire alarm system.

- Access Control: RFID-based entry system limited to trained personnel only.

- Intrinsically Safe Lighting: Spark-proof fittings in flammable zones.

Segregation Protocols:

| Waste Type | Dedicated Zone/Marking |
| --- | --- |
| Reactive Organics | Isolated Cabinet with Ventilation |
| Oxidizers | SS Shelves, Yellow Markings |
| Flammable Solvents | Flame-proof Storage Drum Bank |
| Heavy Metal Containing | Bunded Section with Warning Tape |
| Incompatible Sludges | Physical Barriers + Signage |

Operational Practices:

- Containers are placed above ground level using polymer pallets.

- FIFO Protocol: Clearly tagged with accumulation start date; wastes exceeding 90 days are reported to SPCB.

- Daily Inspection Log: Includes label integrity, leakage signs, corrosion, and pest control status.

- Visual indicators (arrows, area maps, GHS signage) are posted throughout the yard.

- Handling Protocols

To prevent chemical burns, inhalation risk, reactivity, or ergonomic injury, strict handling procedures are enforced.

Personnel Qualification:

- Only certified staff (trained in the Hazardous Waste Handling Module) may handle hazardous waste.

Training includes:

  - Correct PPE use

  - Material compatibility

  - Emergency spill response

  - Fire safety procedures

PPE Requirements by Waste Type:

| Waste Type | PPE Set |
| --- | --- |
| Flammable solvents | Antistatic gloves, chemical goggles, FFP2 mask, PVC apron, ESD boots |
| Acidic/Corrosive waste | Acid-resistant gloves, face shield, chemical splash suit, gumboots |
| Reactive solids | Flame-retardant coverall, respirator, nitrile gloves, chemical hood |

Material Handling Tools:

  - Trolleys with secondary containment trays for drums and carboys

  - Drum lifters and rotators for 200L barrels

  - Spill-resistant siphon pumps or inert gas pressurization systems for transfer

  - Manual tipping of containers is strictly prohibited

Documentation:

- Material Movement Register (MMR) updated for each transfer.

- Real-time log of container ID, handler name, PPE used, and time of movement.

- Transportation Procedures

Transportation of hazardous waste from the generation area to storage, and from storage to final disposal is executed with maximum safety and full legal compliance.

Internal Transfer (Within Premises):

- Use of anti-static, corrosion-resistant trolleys.

- Waste containers are:

  - Secured with bungee cords/lid locks

  - Covered with polyethylene sheets if odor/vapor potential exists

- Movement conducted only during non-peak hours to reduce interaction with production activities.

- Transfer routes are pre-mapped and marked with directional indicators.

External Transfer (To TSDF/Co-Processing Facility):

- Carried out only via SPCB-Authorized Transporters.

- EHS prepares Form 10 Manifest in six copies, signed and stamped.

- Containers loaded onto:

  - GPS-enabled covered trucks with flame-retardant tarpaulin

  - UN-approved sealed containers (with hazard placards)

  - Loaded with spill kits, MSDS folder, and emergency contact list

- Disposal receipt with weight reconciliation is collected at the TSDF and uploaded to the EHS compliance portal within 48 hours.

- Transport Safety Measures

- All transport vehicles must be fitted with the following safety equipment and protocols:

  - ABC-type fire extinguishers (minimum 4 kg) placed near the driver’s cabin and rear of the vehicle.

  - Spill containment kits suitable for the class of waste being transported.

  - Proper ventilation systems, especially for VOC-generating wastes.

  - GPS-based tracking systems integrated with the site EHS dashboard for real-time shipment monitoring.

- Emergency Procedures During Transport

- In the event of a road accident, leakage, or fire during transportation:

  - The Emergency Response Plan is immediately activated by the Transport Team.

  - Primary actions include:

    - Securing the perimeter and avoiding ignition sources.

    - Using spill kits to contain and neutralize the leaked substance.

    - Deploying personal protective equipment (PPE) as per the waste class.

  - Secondary actions involve:

    - Notifying local authorities, fire department, and the nearest hospital.

    - Informing the EHS Head and initiating incident documentation.

  - Post-incident, a Root Cause Analysis (RCA) is conducted, and incident records are retained in the Incident Register.

- Transport Recordkeeping:

- Transport logbook includes:

  - Transporter name and license number

  - Vehicle number and route taken

  - Time of departure and arrival

  - Container barcode numbers and weights

- Records are retained for minimum 5 years in line with Praveen Laboratories’ data retention policy.

| Labels/Transport Pictogram |  |  |
| --- | --- | --- |
| Symbol: Exploding Bomb [for Division 1.1 to 1.3] | Symbol: Only Number |  |
| Colour of Symbol: Black | Colour of Symbol: Black |  |
| Background : Orange | Background: Orange |  |
| Symbol: Gas cylinder: | Symbol: Flame: | Symbol: Skull and Cross Bones: |
| Colour of Symbol: Black or White | Colour of Symbol: Black or White | Colour of Symbol: Black |
| Background: Green | Background: Red | Background: White |
| Symbol: Flame | Symbol: Flame | Symbol: Flame |
| Symbol Colour: Black or White | Symbol Colour : Black | Symbol Colour: Black |
| Background: Red | Background : White with vertical red stripes | Background: Upper half White and lower half Red |
| Symbol: Flame | Symbol: Flame over circle | Symbol: Flame over circle |
| Symbol Colour: Black or White | Symbol Colour : Black | Symbol Colour : Black |
| Background : Blue | Background : Yellow | Background : Yellow |
| Symbol: Skull and crossbones | Symbol: St. Andrew’s cross over an ear of wheat. The bottom half of the label should bear the inscription: HARMFUL stow away from food-stuffs. | Symbol: three crescents superimposed on a circle. Inscription : The bottom half of the label should bear: INFECTIOUS SUBSTANCES (optional) and the inscription “In the case of damage or leakage immediately notify Public Health Authority” (optional) |
| Symbol Colour : Black | Symbol Colour : Black | Symbol Colour : Black |
| Background : White | Background : White | Background : White |
| Symbol: 3 segments of a circle a number. Symbol Colour: Black Background: Upper Half Yellow and Lower Half White | Symbol: liquids spilling from two glass vessels and attacking a hand and metal Background: Upper half White and lower half Black with White border. Symbol colour: Black | Background: White Upper half with Black Stripe. |

- Specialized Treatment & Safe Disposal of Hazardous Substances

- Onsite Pre-treatment Activities

To minimize environmental impact and reduce offsite disposal burden, several in-plant treatment methods have been implemented prior to final waste dispatch.

- pH Neutralization Units have been installed in production and utility areas to treat acidic and alkaline rinses generated during equipment washing and cleaning activities. These units are automatically monitored for pH ranges and are equipped with acid/alkali dosing systems to bring effluent within neutral discharge standards before routing it to the Effluent Treatment Plant (ETP).

- Double-stage Distillation Columns are utilized to process solvent waste that contains multiple impurities, especially from multistep synthesis batches. The first stage focuses on bulk recovery while the second ensures purification. Recovered solvents are sent for quality testing and reused for non-critical rinses or cleaning operations, reducing procurement of fresh solvent.

- Activated Carbon Filtration Systems are installed at wastewater discharge points from QC and production areas to capture residual organics, color, and trace solvents. This filtration stage ensures that final rinse water is free from toxicants before entering the STP (Sewage Treatment Plant).

- Authorized Disposal Facilities

All hazardous wastes that cannot be recovered, reused, or treated in-house are sent to State Pollution Control Board (SPCB)-authorized disposal facilities, strictly adhering to the Hazardous and Other Wastes (Management and Transboundary Movement) Rules, 2016.

Treatment, Storage and Disposal Facility (TSDF)

Non-recoverable hazardous wastes such as chemical sludge, spent charcoal, distillation residue, and contaminated hazardous packaging are transported to TSDFs for final disposal. These facilities employ scientifically validated treatment methods including:

- High-temperature incineration (1100–1300°C) for safe destruction of hazardous waste streams like spent solvents, contaminated PPE, and biohazardous residues.

- Secure engineered landfilling for inorganic and non-degradable hazardous solid wastes such as filter cakes, inorganic sludges, and ash.

Prior to dispatch, all hazardous wastes are pre-segregated, labelled, and analysed for critical parameters including calorific value, moisture content, and chemical composition to ensure selection of the most appropriate TSDF treatment pathway.

- Reduction of Toxic Chemical Emissions

- Process Parameter Optimization: Operational parameters such as reaction temperature, pH, mixing speed, and retention time are optimized by process engineers to minimize the formation of hazardous by-products. This practice reduces both emissions and downstream treatment requirements.

- In-Process Recycling and Reuse: Solvent recycling and recovery of intermediate streams are actively pursued within production cycles. This not only curbs waste generation but also contributes to cost savings and improved material efficiency.

- Standardized Operating Protocols: Well-defined SOPs and process checklists guide the precise use of chemicals, including sequence of addition, concentration limits, and safety precautions. These controls reduce the risk of excessive chemical dosing or variability in output.

- Continuous Real-Time Monitoring: Automated monitoring systems are installed across critical control points in the manufacturing line to ensure that process variables remain within defined thresholds, thus preventing unintended emissions or unsafe conditions.

- Filtration and Contaminant Isolation: Simple but effective techniques such as sedimentation, filtration, or decantation are employed wherever feasible to separate toxic components from aqueous or organic waste streams before they are mixed or discharged.

- Onsite Pre-Treatment Techniques: Select toxic by-products undergo preliminary treatments such as neutralization, oxidation, or dilution at the source. These steps help reduce the overall hazard classification of waste prior to final disposal.

- Documentation

All key stages of the manufacturing process—including formulation, batch processing, in-process quality control, final testing, and packaging—are documented in detail. These records are securely maintained in digital repositories with routine backups, role-based access, and audit trails. Documentation supports compliance, traceability, and process consistency, and is reviewed periodically as part of internal quality assurance.

- Continuous Improvement

We maintain a proactive culture of continuous improvement across all functions. Regular internal audits, operational reviews, and performance evaluations are conducted to identify gaps and implement corrective measures. Cross-functional teams participate in training sessions focused on emerging regulatory trends, green chemistry innovations, and best practices. Feedback from customers, audits, and operational KPIs is used to refine systems and enhance product and process sustainability.

Regulatory Compliance

All processes are designed to meet or exceed the requirements set forth by national and international chemical safety regulations. Dedicated EHS personnel continuously monitor regulatory developments and update internal protocols accordingly. Strategic collaborations with accredited laboratories, compliance consultants, and regulatory bodies ensure that Praveen Laboratories remains ahead of the curve in terms of safety, environmental performance, and sustainable innovation.

# Integrated Water Management Procedures

- Introduction

Praveen Laboratories recognizes water as a vital and limited resource. As a pharmaceutical R&D facility, the responsible management of water use and wastewater discharge is critical to our sustainability goals and environmental compliance. This SOP outlines our structured approach to water use, quality monitoring, conservation, and management of risks associated with water use and contamination especially with regards to pharmaceutical actives (APIs).

- Objectives

- Ensure efficient and minimal use of water across operations.

- Monitor, analyze, and manage wastewater discharge responsibly in the absence of an ETP.

- Implement mechanisms for API capture and containment at the source.

- Integrate water audits and quality checks into operational routines.

- Comply with local, state, and national water regulations.

- Applicability & Coverage

This SOP applies to all departments utilizing water in any form, including:

- Research and Development

- Analytical and Quality Control

- Utility and HVAC systems

- Sanitary and domestic uses

- Cleaning and maintenance services

- Organizational Responsibilities

| Role | Responsibilities |
| --- | --- |
| EHS Manager | Ensure implementation, training, audits, and compliance reporting. |
| Lab Managers | Monitor water use and ensure local controls are followed. |
| Maintenance Team | Handle plumbing, leak management, and system inspections. |
| Procurement Team | Source water-saving devices, fittings, and metering tools. |
| All Employees | Use water judiciously, report leaks, and follow process-specific guidelines. |

- Water in Processes

- Water used in synthesis and analytical procedures is metered at lab-level.

- Reverse Osmosis (RO) and distilled water generation is optimized to reduce reject water.

- Cleaning protocols are designed to use pre-measured quantities instead of free-flowing water.

- Process Cooling and Thermal Systems

- Scheduled Inspection and Preventive Maintenance: Regular maintenance is performed on chillers, water baths, and heat exchangers to ensure optimal performance, prevent water loss, and maintain energy efficiency.

- Leak Monitoring and Immediate Repair Protocol: Moisture sensors and manual checks help detect leaks early. All leaks are logged and repaired within 24 hours to reduce water waste and system disruptions.

- Closed-Loop Cooling Systems: Cooling systems operate on a closed-loop basis to prevent wastewater discharge and allow consistent, contamination-free thermal regulation.

- Adaptive Thermal Load Management: Cooling intensity is automatically adjusted based on the real-time thermal load of equipment or batches, saving both water and energy.

- Water-Conscious Cooling Technologies: Water-saving technologies like air-cooled chillers, dry cooling systems, and hybrid models are used to reduce dependence on water-based systems.

- Energy-Water Nexus Optimization: Energy-efficient technologies such as VFDs, insulation, and condensate reuse help reduce both water consumption and power usage in cooling operations.

- Data-Driven Cooling System Management: Daily and monthly performance logs are maintained to monitor usage, detect inefficiencies, and guide continuous improvements in water and energy management.

- Wastewater Treatment and Reuse

- Pre-treatment of process wastewater containing API residues is carried out using:

  - Activated carbon filters

  - pH neutralization tanks

- Solvent-laden liquid waste is segregated at the source, stored in dedicated containers, and handed over to SPCB-authorized hazardous waste handlers for incineration or specialized disposal.

- After pre-treatment, all wastewater is routed to the in-house Sewage Treatment Plant (STP), where biological and mechanical treatment processes are employed to reduce organic load, suspended solids, and residual chemicals.

- The treated effluent from the STP is then transferred to a Common Effluent Treatment Plant (CETP) for final treatment and disposal, ensuring compliance with CPCB and local pollution control norms.

- Greywater, such as RO reject and washwater from hand washing stations, is collected separately and reused for non-critical utility applications, such as toilet flushing and floor cleaning, reducing freshwater demand.

- We maintain formal agreements with authorized off-site CETP operators, and regular effluent sampling and analysis is conducted to ensure that discharge parameters remain within permissible limits.

- Groundwater Protection and Monitoring

- No untreated or treated industrial effluent, laboratory wastewater, or cleaning runoff is permitted to be discharged directly into the soil, unlined drains, or groundwater bodies. This is in strict adherence to regulatory mandates and environmental best practices.

- All effluent generated is managed through designated collection systems, ensuring complete containment and routing to authorized disposal or treatment mechanisms.

- Dedicated containment trays are strategically installed beneath all chemical storage racks, reagent shelving, and experimental workbenches to catch accidental leaks or spills.

- Quick-response spill kits are positioned in key areas for immediate containment and neutralization of hazardous substances.

- All containment infrastructures, including trays and absorbent barriers, undergo routine inspection and maintenance to ensure functional integrity.

- Borewell usage is monitored monthly and groundwater levels are tracked annually.

- Rainwater percolation pits and storm water drains are maintained to support aquifer recharge.

- Emergency Water Supply and Contingency Planning

- An overhead tank system with a minimum 2-day backup is maintained.

- Bottled water and tanker supply agreements are in place for emergency shutdowns or municipal supply failure.

- EHS team maintains an Emergency Response Plan (ERP) for water scarcity and contamination scenarios.

- Water Footprint and Sustainability Initiatives

| Initiative | Status |
| --- | --- |
| Installation of low-flow faucets | Implemented in 100% labs |
| Condensate recovery for reuse | Ongoing |
| Rainwater harvesting feasibility study | Conducted in 2024 |
| Awareness training on water conservation | Conducted quarterly |

- Regular Water Audits and Quality Assessment

- Annual water audits are conducted jointly by the internal EHS team and certified third-party environmental consultants to evaluate water consumption patterns and system efficiency.

- In addition to audits, regular wastewater assessments are carried out by accredited third-party laboratories to analyze effluent characteristics and ensure compliance with discharge norms set by the CPCB and SPCB.

- Key parameters tracked include:

  - Consumption per department

  - Loss due to leakages

  - % reuse achieved

- Monthly water quality testing includes pH, TDS, TSS, O&G,COD, BOD, Phenolic compound, Sulphide, Ammonical Nitrogen, Total Chromium, hexavalent Chromium, lead, nickel, zinc, copper and presence of pharmaceutical residues.

- Documentation

- Water usage logs (daily and monthly)

- Maintenance and repair logs for plumbing systems

- Waste-water & water quality test reports

- Pre-treatment logbooks for solvent disposal

- Water audit reports and vendor agreements

- Continuous Improvement

- Kaizen events are organized annually to solicit employee suggestions on water-saving techniques.

- Technology upgrades considered:

  - RO systems with higher recovery rates

  - Installation of flow restrictors

- Benchmarking water intensity per R&D output to set reduction targets.

- Compliance

Praveen Laboratories complies with:

- The Water (Prevention and Control of Pollution) Act, 1974

- Bureau of Indian Standards (BIS) for drinking water

- CPCB guidelines on pharmaceutical wastewater

- Vendor manifest and waste tracking as per Hazardous Waste Rules, 2016

- Water Risk Assessments

- Conducted in 2023 to identify:

  - High-consumption areas

  - Points of pharmaceutical contamination risk

  - Equipment and systems vulnerable to leaks or inefficiencies

- Identified need for:

  - API removal through adsorbents and source-level controls

  - More extensive wastewater pre-treatment partnerships

- Removal of Active Pharmaceutical Ingredients (APIs) from Wastewater

- We have adopt a robust, multi-layered approach to eliminate trace APIs from wastewater and prevent pharmaceutical pollution of surface water and soil ecosystems. The strategy involves source-level isolation, advanced treatment technologies, controlled disposal, and R&D-based innovation.

- Source-Level Isolation and Segregation

- Streams that contain APIs or intermediates—such as wash water from reactor cleaning, filtrates from product drying, and mother liquors—are identified and segregated at the point of generation to prevent dilution or mixing with greywater or STP-bound utility wastewater.

- API-containing waste is not routed to general drains or biological treatment plants due to its persistent and potentially toxic nature.

- Targeted Contaminant Removal Technologies

- Granular Activated Carbon (GAC) Columns are deployed to adsorb organic pharmaceutical residues from high-risk liquid streams. Spent GAC media is periodically regenerated or disposed of through authorized vendors.

- Multi-barrier polishing units, combining activated carbon with ion exchange resins and sediment filters, are being piloted to enhance final discharge quality.

- Secure Handling and Disposal

- All API-bearing waste is collected in designated leak-proof containers, each labeled with:

  - API type

  - Concentration

  - Volume

  - Generation source

- Containers are barcoded and tracked using the Waste Manifest Management System (WMMS), ensuring full traceability.

- This waste is stored temporarily in a dedicated hazardous chemical storage zone and handed over to TSDF (Treatment, Storage and Disposal Facility) vendors approved under the Hazardous Waste Rules.

- Research and Innovation Initiatives

- The company’s R&D division is actively investigating advanced destruction technologies such as:

- Biological degradation using engineered microbes that can metabolize API structures in aerobic or anaerobic bioreactors.

- Photocatalysis using TiO₂-based materials, which when exposed to UV light, degrade complex pharmaceutical molecules into less harmful components.

- Collaborative studies with academic institutions and environmental laboratories are underway to validate these approaches and assess their viability for scale-up.

- Regulatory Alignment

- All practices align with national guidance on API discharge control, including:

- CPCB’s “Standard Operating Procedure for Control of Pharmaceutical Wastewater”

- Draft guidelines on antibiotic and high-priority drug discharge limits

- Continuous Improvement

Praveen Laboratories ensures continuous improvement through quarterly EHS reviews, annual third-party audits, and technology evaluations like high-recovery RO systems and advanced API removal techniques. Employee-driven initiatives such as Kaizen events and water conservation trainings are regularly conducted. Data from water usage logs, reuse tracking, and leak reports guide targeted upgrades. Innovation pilots in AOPs and biological degradation support long-term sustainability and regulatory alignment in pharmaceutical wastewater management.

# Air Emissions and Environmental Nuisance Control

- Introduction

At Praveen Laboratories, maintaining clean air within and around our facility is a core aspect of our environmental and occupational safety responsibilities. Although our operations are laboratory-scale and non-industrial, emissions of particulate matter, vapors, noise, and odors are managed with the same diligence as in large-scale facilities. This SOP outlines preventive strategies and control technologies adopted to mitigate atmospheric emissions, laboratory odors, and noise pollution, ensuring compliance and community well-being.

- Objectives

- Prevent emissions of volatile organic compounds (VOCs), fine particulates, and chemical vapors.

- Monitor indoor and ambient air quality periodically.

- Implement quiet operation practices and minimize equipment noise at boundaries.

- Mitigate nuisance odors using lab-scale filtration and ventilation systems.

- Maintain full compliance with applicable CPCB, SPCB, and occupational hygiene norms.

- Applicability & Coverage

This SOP applies to:

- All laboratory operations involving chemical handling, solvent use, heating, or ventilation.

- All personnel involved in experimental work, fume hood operation, solvent storage, or waste handling.

- Noise-generating lab equipment and odor-producing activities.

- Organizational Responsibilities

| Role | Key Responsibilities |
| --- | --- |
| EHS Coordinator | Develops monitoring programs and evaluates emission risks. |
| Lab Managers | Enforce air handling protocols and ensure fume hood use compliance. |
| Maintenance Supervisor | Maintains filtration units, exhaust fans, and noise insulation infrastructure. |
| Lab Technicians | Ensure correct usage of fume hoods and odor control practices. |

- Emission Prevention Actions

- Multi-stage wet scrubbers are installed on distillation units and reactor vents, specifically designed to neutralize acid gases (HCl, SO₂) and water-soluble emissions generated during synthesis processes. The scrubbing efficiency is verified through pH and TDS monitoring of effluent streams.

- Closed charging systems and sealed reaction vessels are used during solvent-intensive operations. These systems include nitrogen blanketing and vapor balancing lines that loop back displaced vapors to condensers or solvent recovery units.

- Dedicated vapor adsorption chambers with granular activated carbon (GAC) columns are deployed at high-risk VOC emission zones such as solvent storage yards, chromatographic purification areas, and liquid transfer bays.

- Leak Detection and Repair (LDAR) rounds are conducted monthly using photoionization detectors (PIDs) and infrared thermography to identify micro-leaks in pipe flanges, agitator seals, and flexible hoses. Identified leaks are logged and closed within a 48-hour corrective action cycle.

- Combustion emissions from boilers and hot oil generators are controlled via low-NOx burners, and fuel quality is monitored to maintain sulfur levels within permitted limits.

- Stack chimneys are designed for optimal dispersion, with minimum height standards (as per CPCB guidelines) and inline sampling ports for stack monitoring. Emissions are routinely tested by NABL-accredited labs.

- CEMS (Continuous Emission Monitoring Systems) are operational on major stacks to track SOx, NOx, CO, and particulate matter. Alert thresholds are set, triggering immediate shutdown protocols if emission limits are approached.

- Preventive maintenance of APC (Air Pollution Control) equipment is scheduled quarterly, covering blower calibration, duct inspections, and demister pad cleaning to avoid backpressure and capture inefficiencies.

- Ambient Air Quality Monitoring (AAQM) is conducted at four boundary locations to track PM2.5, PM10, VOCs, and ammonia. Trends are reviewed monthly and compared with NAAQS standards to ensure negligible off-site impact.

- Control of Particulate Matter

- Baghouse Dust Collectors with HEPA-grade filters are installed on fluid bed dryers, micronizers, and API blending systems. These units operate at >99.97% filtration efficiency for PM₂.₅, ensuring worker safety and clean air discharge in enclosed production zones.

- Wet Scrubbing Systems with Packed Bed Columns are connected to reactors and neutralization tanks to capture particulate-bound vapors and aerosols generated during acid-base reactions or granulation. Scrubbing media is changed based on pressure drop indicators and pH variance.

- Electrostatic Precipitators (ESPs) are integrated with boiler stacks and thermal oxidizer exhausts, effectively removing submicron particles (<1 µm) through dual-stage charging and collection plates. Particle loading and removal efficiency are reviewed during every quarterly EHS audit.

- Continuous Particulate Monitoring: PM₁₀ and PM₂.₅ sensors are placed in HVAC ducts and ambient monitoring points. Alarm-linked control panels alert operators to abnormal emission surges, prompting immediate containment or system shutdown.

- Preventive Maintenance and Calibration: All baghouses, scrubbers, and ESPs follow a preventive maintenance schedule, including daily pulse-jet cleaning, filter inspection, motor checks, and airflow balance calibration to ensure sustained efficiency.

- VOC, SO₂, NOₓ, and Heavy Metal Emission Mitigation

- Continuous Emission Monitoring Systems (CEMS) are installed on all critical stacks associated with distillation columns, solvent recovery units, and utility boilers. These systems continuously track real-time concentrations of VOCs, SOx, NOx, CO, and CO₂.

- Ambient Air Quality Monitoring Stations (AAQMS) are established at facility perimeters in upwind and downwind locations to capture comprehensive data on local air quality trends. Monitored pollutants include VOCs, NOx, SOx, CO, and PM, and results are reviewed weekly by the EHS department.

- Third-Party Manual Stack Testing is performed quarterly on all major emission sources, including process reactors, hot oil systems, and incinerators. Accredited laboratories conduct these tests to measure stack concentrations of SO₂, NOx, CO, and total VOCs. All results are certified and included in annual environmental disclosures.

- Real-Time Data Analytics & Alarming: All monitored pollutants, including CO₂ and VOCs, are analyzed using in-house software that flags trends and auto-generates alarms when levels approach pre-defined thresholds. This enables immediate root cause identification and activation of corrective actions, such as flow rate adjustments or process halts.

- VOC Capture and Mitigation: VOC emissions from solvent handling, extraction, and purification operations are minimized using vapor balancing systems, nitrogen blanketing, and activated carbon absorbers. Based on real-time monitoring, operational practices are dynamically adjusted to mitigate fugitive releases.

- Routine Calibration & Maintenance of Monitoring Equipment: CEMS and AAQMS devices are calibrated monthly using certified gas standards and documented under the instrumentation quality management system. Preventive maintenance is conducted by OEM-trained technicians to ensure data accuracy and reliability.

- Monthly Compliance Review by Environmental Management Team: Emission trends and exceedance alerts are reviewed by a cross-functional environmental task force. Root cause analyses, mitigation plans, and improvement actions are tracked through a centralized Environmental Performance Dashboard.

- Regulatory Reporting & Disclosure: Comprehensive emission reports, covering pollutant loads, stack test summaries, and CEMS data logs, are compiled annually and submitted to the State Pollution Control Board (SPCB) and CPCB. Reports include emissions of SOx, NOx, VOCs, CO, and CO₂, along with details of control systems and performance efficiency.

- Odor Mitigation and Biofiltration

- Chemical storage rooms are ventilated with odor-resistant exhaust systems.

- Biofiltration is implemented via compact biofilter boxes using activated media and microbial biofilms near odor hotspots.

- Passive odor control gels infused with essential oils or neutralizing agents, are strategically placed in solvent storage racks, R&D labs, and waste segregation points.

- Air curtains at lab entrances reduce cross-contamination of air between sections.

- All exhausts, filters, and air purifiers undergo scheduled preventive maintenance, including filter replacements, motor inspection, and airflow calibration.

- Ambient Air and Emission Monitoring

Monitoring Schedule

- Ambient air quality is tracked continuously through strategically installed monitoring stations positioned around the facility's boundary, capturing real-time data on key pollutants including PM₁₀, PM₂.₅, SOx, NOx, CO, and VOCs.

- In addition, certified third-party laboratories perform manual air sampling at least once a month, following CPCB/SPCB regulatory protocols for extended parameter analysis.

- During high-risk periods—such as seasonal transitions or operational peaks—weekly monitoring is conducted to proactively identify and manage potential pollution surges.

Pollutant Evaluation and Compliance Assessment

- All monitoring data—both real-time and lab-generated—is systematically analyzed by the Environmental Monitoring Team to assess concentration levels of particulate matter and gaseous pollutants.

- Results are benchmarked against national standards (CPCB) and international guidelines (e.g., WHO ambient air quality norms) to ensure environmental compliance and safeguard community health.

- In the event of unusual readings or exceedances, root-cause investigations are promptly initiated to trace the source of emissions within or around the premises, enabling targeted mitigation actions.

- Noise Mitigation and Monitoring

Excessive noise can negatively impact worker health, concentration, and long-term auditory well-being. At Praveen Laboratories, noise is systematically controlled through engineering, administrative, and personal protective measures, supported by periodic monitoring and proactive planning.

- Routine Noise Monitoring and Mapping

- Monthly Noise Surveys: Noise levels are regularly monitored across all locations of the facility to ensure full coverage and compliance with regulatory limits.

  - Lab peripheries

  - Mechanical equipment rooms

  - Utility areas (compressors, HVAC units)

  - High-activity R&D benches

- Compliance Benchmarking: Measurements are benchmarked against national occupational exposure limits (e.g., 85 dB (A) for an 8-hour TWA, per Factories Act and CPCB guidelines).

- Noise Mapping: Survey data is compiled into noise contour maps to visualize high-risk zones and inform equipment layout and zoning decisions.

- Engineering Controls for Noise Reduction

- Vibration Isolation: High-noise equipment such as centrifuges, vacuum pumps, homogenizers, and sonicators are mounted on rubber pads, vibration isolators, or spring mounts to reduce structural transmission of noise.

- Acoustic Enclosures: Sound-dampening enclosures with acoustic foam or baffle lining are used to house noisy equipment, reducing ambient noise by 10–25 dB depending on equipment type.

- Noise-Dampening Materials: Walls and ceilings of high-noise rooms may be treated with acoustic insulation panels or PVC curtains to absorb reflected sound.

- Administrative Controls and Scheduling

- Quiet Scheduling Policy: Noise-intensive operations are scheduled during core work hours to minimize impact on staff. Operations near administrative areas are further restricted or scheduled for off-peak hours.

- Zoning and Segregation: Noisy equipment is placed in designated sound-control zones, separated from offices, meeting rooms, and sensitive analytical labs.

- Personal Protective Equipment (PPE)

- Provision of Hearing Protection: Workers in identified high-noise zones are provided with appropriate ear protection, including ear plugs or ear muffs, depending on decibel exposure levels.

- Signage and Zone Marking: All areas exceeding 80 dB (A) are clearly marked as “Hearing Protection Required” zones with visible signage and PPE reminders.

- Comfort and Fit: PPE is selected based on comfort and compatibility with other safety gear (e.g., lab coats, goggles) to ensure consistent usage.

- Preventive Maintenance for Noise Control

- Lubrication and Alignment: Routine maintenance of mechanical systems, such as alignment of rotating machinery and lubrication of moving parts, reduces excessive vibration-induced noise.

- Balancing of Rotational Equipment: Centrifuge rotors and fan blades are routinely checked and rebalanced to prevent noise caused by imbalance or wear.

- Loose Panel and Fastener Checks: Monthly inspections are conducted to detect and correct rattling panels, worn mounts, or loosely fastened components that contribute to unnecessary noise.

- Employee Health and Feedback Mechanisms

- Audiometric Testing: Where applicable, employees regularly exposed to >80 dB (A) are enrolled in periodic audiometric testing programs to track hearing health over time.

- Noise Feedback System: A simple reporting mechanism is in place for employees to log noise-related discomfort or incidents, which are then evaluated by the EHS team for mitigation.

- Awareness and Training: Staff is trained in the importance of noise control, proper PPE use, and reporting of irregular noise behavior, especially in rotating equipment or exhausts.

- Equipment Maintenance and Air Control Systems

| System | Frequency | Activity |
| --- | --- | --- |
| Fume hoods & carbon filters | Monthly | Airflow testing, filter replacement if needed |
| Ventilation ductwork | Quarterly | Inspection for blockage or buildup |
| HEPA/ULPA filters in balance areas | Every 6 months | Pressure drop checks and integrity tests |
| Odor scrubbers & biofilters | Every 2 months | Bio media replacement and odor log checks |
| Noise insulation (pump rooms) | Annually | Acoustic integrity inspection |

- Documentation

- Internal air quality reports (TVOC, PM)

- Noise monitoring logs and third-party survey results

- Maintenance records of air control systems

- Incident reports for odor or noise complaints

- Filter change records and equipment service logs

- Continuous Improvement

- Regular training for lab staff on best practices in air handling and chemical storage.

- Evaluation of low-VOC substitutes for solvent use in analytical work.

- Implementation of real-time monitoring systems for enhanced oversight.

- Annual benchmarking against best-in-class laboratory emission standards.

# Product use and End-of-Life Management

- Introduction

As part of our environmental stewardship, we are responsible use & end-of-life (EOL) practices into the development, packaging, and distribution of R&D pharmaceutical products and pilot batches. This SOP outlines our measures to reduce environmental burdens associated with packaging waste, expired or unused pharmaceuticals, and surplus inventory.

- Objectives

- Minimize post-consumer waste from products and packaging.

- Promote proper disposal methods to avoid environmental contamination.

- Enable circular material flows through collaboration and transparency.

- Avoid overproduction of short-shelf-life pharmaceutical compounds.

- Improve packaging efficiency for environmental and cost benefits.

- Actions Implemented to Reduce Environmental Impacts

| Focus Area | Actions Taken |
| --- | --- |
| Optimized Packaging Design | Use of minimalistic, right-size packaging for product samples and test kits. Avoidance of PVC or complex plastic-metal composites in packaging. |
| Material Simplification | Preference for mono-material recyclable pouches and glass containers for chemical storage. Labels are printed using water-based inks. |
| Eco-Friendly Packaging | Transition to biodegradable cushioning, corrugated fibreboard, and paper tape instead of plastic-based fillers for transport of sensitive items. |
| Reduced Packaging Weight | Lightweight secondary packaging materials used to reduce carbon emissions during logistics. |
| Reuse of Internal Packaging | Clean secondary packaging materials reused for internal sample dispatches between departments or to analytical partners. |

- Eco-Conscious Primary Packaging Optimization

To reduce the environmental footprint and material consumption associated with packaging, Praveen Laboratories has adopted the following strategic actions:

- Reduced Material Usage in Primary Packaging

- Redesigned blister packs and bottle containers to use thinner but durable material grades, resulting in reduced plastic and aluminum usage by up to 15%.

- Removed unnecessary layers in secondary packaging (e.g., carton inserts), especially for physician samples and clinical trial supplies.

- Dimension & Weight Optimization

- Standardized packaging sizes for commonly produced dosage forms, allowing better space utilization during transport and reducing overall packaging volume per shipment.

- Introduced lightweight polymer containers that maintain integrity while lowering shipping weight, thus cutting transportation energy costs.

- Simplified Material Composition

- Shifted toward mono-material packaging (e.g., single-type recyclable plastic) to improve recyclability and reduce composite waste.

- Avoided metalized films or PVC-based laminates in new packaging lines to support downstream recycling and disposal efforts.

- Sustainable Ink and Labeling Practices

- Adopted soy-based inks and non-toxic adhesives for labeling to reduce environmental impacts and enhance recyclability.

- Minimalistic label designs with essential regulatory information only, printed on recycled kraft paper labels wherever possible.

- Forecast-Based Production & Inventory Optimization

To prevent surplus medication production and reduce associated material, storage, and disposal burdens, Praveen Laboratories has implemented robust demand planning systems:

- Forecast-Driven Production Planning

- Integrated historical sales trends, seasonal demand fluctuations, and market feedback into automated demand forecasting tools to guide batch sizing and production schedules.

- Reviewed forecasts monthly in collaboration with sales, supply chain, and formulation departments to adjust plans proactively.

- Batch Flexibility & Agile Manufacturing

- Adopted modular batch production lines that allow for quick adjustments to batch sizes and product variants with minimal downtime or resource wastage.

- Inventory Control for Raw and Finished Goods

- Implemented a first-expiry-first-out (FEFO) system in finished goods warehouses to prevent expiry-related disposal of unused medications.

- Installed digital monitoring for stock levels, batch age, and consumption rates, triggering alerts for potential overstocking.

- Pilot Launch Quantities for New Products

- For new or reformulated products, introduced limited initial production runs to gauge market response and prevent bulk production before demand validation.

- Waste Reduction from Returns or Obsolescence

- Actively engaged with distribution partners to consolidate demand, reduce packaging returns, and optimize shipment volumes based on real-time distributor feedback.

- Regular Disposal Products and Wastes

- Expired pharmaceutical materials are segregated and stored in secure containment until disposed of via authorized biohazard and hazardous waste vendors.

- Products with hazardous APIs are treated as hazardous waste, and no flushing or general waste disposal is permitted.

- Waste disposal aligns with:

  - Biomedical Waste Management Rules (2016)

  - Hazardous Waste Management Rules (2016)

- Stakeholder Collaboration for Product End-of-Life

- Praveen Labs engages with:

  - Approved disposal vendors (TSDFs) for treatment of expired materials.

  - Contract research organizations (CROs) and clients to return unused experimental drugs for safe handling.

  - Packaging suppliers to procure sustainable alternatives and receive end-of-life reuse/recycling guidance.

- Regular communication is maintained with SPCB-authorized waste transporters and recyclers to ensure tracking and traceability of packaging and product waste.

- Information Provided to Stakeholders

- All product labels for pilot batches include:

  - Expiry and disposal information

  - Pictograms indicating hazardous content (if applicable)

  - Instructions for safe containment until handover to authorized disposal parties

- Safety Data Sheets (SDS) include:

  - Specific environmental fate and disposal information

  - Guidance for downstream partners on how to return or destroy materials safely

- Stakeholders are issued Return and Disposal SOP summaries during B2B exchanges.

- Circular Flow Promotion

- Glass containers, where used, are cleaned and reused internally for compatible materials.

- Non-contaminated paper packaging is collected and routed to recycling vendors.

- Unused but uncontaminated buffer solutions or non-reactive chemicals are re-evaluated for lab-scale reuse based on purity verification.

- Pilot batch return protocols are in place for clients to send back unused formulations for consolidated disposal.

- Documentation

- Records maintained include:

  - Product batch production logs

  - Expired material disposal certificates

  - Vendor waste manifests

  - Packaging material sourcing and weight specifications

  - Demand forecasting logs and inventory aging reports

- Continuous Improvement

- Annual EOL audit reviews conducted to assess reduction in packaging waste and expired material volume.

- Regular participation in eco-design workshops and supplier feedback programs for sustainable packaging.

- Innovation taskforce periodically evaluates feasibility of reusable packaging for future collaborations.

- Employee suggestion box and quarterly review on material efficiency and waste reduction.

- Compliance

All product and packaging end-of-life practices at Praveen Laboratories are aligned with applicable environmental regulations, regulatory authority directives, and industry best practices for the safe handling, disposal, and communication of materials in pharmaceutical R&D. We ensure full traceability and responsible stewardship across the product lifecycle, in coordination with certified vendors and stakeholders.

# Safe Handling of Chemicals

- Safe Handling of Acid

- Objective: To describe standard procedures while handling the acids.

- Scope: This procedure applies to all staff and contractors who undertake activities for or on behalf of the company while handling the acids.

- Responsibility

| Role | Responsibility |
| --- | --- |
| EHS Department | - Prepare and display the available Acids details along with handling procedure (where ever applicable). - Train all concern persons for handling of Acids. - Ensure that Display / Availability of MSDS for each handling of Acids. - Ensure the availability of required PPE’s for handling of Acids. - Ensure the storage of Acids as per requirement. |
| Concerned Department Head / Designee | - Provide the required PPE’s while handling of Acids. - Train all concern persons for handling of Acids. - Report timely if any spillages, incidents or any accidents occurred. - Ensure the storage and Handling as per requirement. - Indent / Request for required PPE’s as per requirement. |

- Procedure

- EHS Department In-charge / Designee / Concern department Head /Designee of departments shall provide trainings on basis of material safety data sheet to employees about the properties of bases before handling the material.

- Concerned department employees should issue required personal protective equipment from EHS department or from self-department while handling of acids.

- Person should wear appropriate PPE while handling acids.

- Always use secondary containment devices when transporting Acids.

- After charging of Acids they have to clean the area and use equipment in proper manner by using spill kit in case of any spillage.

- Empty bags or containers of the material should immediately shift to the disposal area or dedicated place.

- Store department should aware with the storage condition of acids.

- In case of contact with any part of the body rinse/wash with plenty of water. If problem persists, immediately provide medical treatment.

- Do not store the acids in the same area where bases are stored.

- Employees of Quality Control Department shall issue required PPE from EHS department or from self-department while going to sampling of acid material.

- Safe Handling of Bases

- Objective: To describe a standard procedure to safe handling of the Bases

- Scope: This procedure applies to all staff and contractors who undertake activities for or on behalf of the company while handling the bases.

- Responsibility

| Role | Responsibility |
| --- | --- |
| EHS Department | - Prepare and display the available Bases details along with handling procedure (where ever applicable). - Train all concern persons for handling of Bases. - Ensure that Display / Availability of MSDS for each location where ever handling of Bases. - Ensure the availability of required PPE’s for handling of Bases. - Ensure the storage conditions whether suitable or not. |
| Concerned Department Head / Designee | - Provide the required PPE’s while handling of Bases. - Train all concern persons for handling of Bases. - Report timely if any spillages, incidents or any accidents occurred. - Ensure the storage and Handling as per requirement. - Indent / Request for required PPE’s as per requirement. |

- Procedure

- EHS Department In-charge / Designee / Concern department Head /Designee of departments shall provide trainings on basis of material safety data sheet to employees about the properties of bases before handling the material.

- Concerned department employees should issue required personal protective equipment from EHS department or from self-department while handling of bases.

- Person should wear appropriate personal protective equipment.

- Always use secondary containment devices when transporting bases.

- After charging of bases they have to clean the area and use equipment in proper manner by using spill kit in case of any spillage.

- Empty bags or containers of the base materials shift immediately to the disposal area or dedicated place.

- In case of contact with any part of the body rinse/wash with plenty of water. If problem persists give medical treatment immediately.

- Employees of Quality Control Department shall issue required PPE from EHS department or from self-department while going to sampling of base material.

- Store department should aware with the storage condition of bases.

- Do not store the bases in the same area where acids are stored.

- Safe handling of chemicals while analysis

- Objective: To describe standard procedures while handling the chemicals during analysis.

- Scope: This procedure applicable to all staff and contractors who undertake activities for or on behalf of the company while handling the chemicals during analysis

- Responsibility

| Role | Responsibility |
| --- | --- |
| EHS Department | - Train all concern persons for handling of Chemicals (whenever required). - Ensure that Display / Availability of MSDS for each location where ever handling of Chemicals. - Ensure the availability of required PPE’s for handling of Chemicals. - Ensure the storage conditions whether suitable or not. |
| Concern department Head / Designee | - Provide the required PPE’s while handling of chemicals. - Train all concern persons for handling of Chemicals. - Report timely if any spillages, incidents or any accidents occurred. - Ensure the storage and Handling as per requirement. - Indent / Request for required PPE’s as per requirement. |

- Procedure

- EHS In-charge / Designee / Concern Head /Designee of department shall provide trainings on basis of material safety data sheet to employees about the properties of chemicals during analysis.

- EHS Department shall provide trainings to employee’s still department head should make employees aware about the properties of material before handling the chemicals during analysis.

- Concerned department employees should issue required personal protective equipment from safety department or from self-department.

- Use required PPE while handling the chemicals during analysis

- Never use damage PPE.

- Give primary treatment to person as per material safety data sheet and sent it to nearest hospital for further treatment.

- Inform EHS department and concerned department head for further assistance.

- Chemicals going for analysis have correct and clear labeling.

- Storage conditions and transport conditions are predefined which should match to the chemicals.

- The chemical is tightly closed and to be sampled as per standard procedure.

- Wear protective goggles/splash goggles, hand-gloves, disposable mask and suits before opening the chemical bottle or container.

- Do not suck the liquid chemicals/solvents by mouth sucking always use rubber tit.

- Placed the bottle of chemical in safe and far area from other persons.

- Handle the bottle of the chemicals with care; use both hands for transporting the bottles or containers.

- Keep the working area clean, neat and dry at all time.

- In case of spillage to use the spill kit and to make area clean, neat and dry immediately.

- Empty bags or containers or bottles of the material immediately shift to the disposal area or dedicated place.

- If any accident / Incident happened when ever required give primary treatment to person by trained person only.

- Investigate the incident / Accident as per procedure and take necessary actions which ever required.

- Inform EHS department and concerned department head for further assistance.

- Safe Handling and Usage of Spill Kit

- Objective: To describe a standard procedure to safe while handling and using the spill kit.

- Scope: This procedure applies to all staff and contractors who undertake activities for or on behalf of the company while handling and using the spill kit.

- Responsibility

| Role | Responsibility |
| --- | --- |
| EHS Department | - Training shall be imparted to all concern persons regarding usage of spill kits. - Periodically verify the spill kit as per checklist. - Replace the content/ things which are required. - If any new spill kits provided same shall be conspired for periodical verification as per relevant format. |
| Concerned Department Head / Designee | - Train the concern persons regarding materials / chemical nature as per MSDS and explain about usage of spill kits at respective areas. - If any spillages same to be reported and necessary actions to be implemented by coordinating with EHS department. |

- Procedure

- EHS Department In-charge / Designee / Concern department Head /Designee shall provide trainings on basis of material safety data sheet to employees about the properties of material before usage of spill kit to control the spillages .

- Concerned department employees should issue required personal protective equipment from EHS department or from self-department.

- Spill kit should kept in specific area with red marking band in the middle of the carboy.

- While any spillage in specific area, person should use spill kit to avoid spreading of spillage.

- Restrict the spillage area.

- To avoid spreading of any chemical, first use sand to barricade the chemical using all PPE.

- Use boom to barricade the chemical.

- Use socking pad to dry up the area.

- Clean the area by using dust pan.

- Dispose all the chemical and gloves to avoid contamination.

- Clean the spill area with suitable cleaning agent.

- Clear the restricted area for further activity.

- Contents of Spill kit

|  | Dry sand |
| --- | --- |
|  | Boom |
|  | Soak pad |
|  | PPE set |
|  | Dusting pan |
|  | Disposal Bag |

Note: Spill kit verification shall be performed on monthly basis and verification details to be recorded in format no. PLPL/EHS/SOP/023/F-04.

# Energy Management Measures

- Introduction

At Praveen Laboratories, we recognize our environmental responsibility to minimize energy consumption and reduce greenhouse gas (GHG) emissions. Though our facility operates primarily at a laboratory scale, we actively implement efficient energy practices, equipment upgrades, and thermal management strategies to support climate-conscious operations.

- Objectives

- Reduce direct and indirect GHG emissions from laboratory and support functions.

- Improve energy efficiency across HVAC systems, laboratory equipment, and lighting infrastructure.

- Explore renewable energy and low-carbon fuel options where feasible.

- Monitor, document, and continuously improve energy and emission performance.

- Energy Efficiency Improvements

| Area of Operation | Improvement Measures |
| --- | --- |
| Lighting Systems | Replaced all fluorescent and halogen fixtures with LED lighting, incorporating motion sensors in low-traffic areas. |
| HVAC Optimization | Installed variable frequency drives (VFDs) on air handling units; maintained optimal lab pressure differentials for air exchange without overconsumption. |
| Refrigeration & Cold Storage | Replaced legacy refrigerators and deep freezers with BEE 4-star rated or Energy Star-compliant lab models. |
| Fume Hoods & Biosafety Cabinets | Implemented low-flow, energy-efficient fume hoods; timers installed for auto-shutdown during off-hours. |
| Building Envelope | Improved thermal insulation of windows, ducts, and ceiling areas to reduce HVAC energy demand. |

- Equipment & Technology Upgrades

- Energy-efficient centrifuges, vacuum pumps, and heating blocks deployed in all analytical and formulation sections.

- Power-intensive processes (e.g., distillation or synthesis) shifted to modular, digitally controlled systems for precise energy input.

- Regular maintenance schedules enforced for compressors, motors, and utility pumps to reduce operational load.

- Fuel Switching Measures

- Transitioned backup generator fuel from high-sulfur diesel to low-emission biodiesel blends (B10-B20), reducing particulate and SOx emissions.

- Replaced gas-based laboratory burners with electric hotplates or induction systems in general-use areas.

- Hot water systems for staff facilities shifted to solar-assisted heating units.

- Electric Forklifts and Trolleys in Warehousing Operations: Battery-powered forklifts have replaced LPG/diesel models within raw material and packaging storage areas to minimize indoor air pollution and reduce fossil fuel dependency.

- Facility Lighting Shift to Solar + LED Systems: Outdoor security lighting and perimeter lights were connected to rooftop solar power with integrated battery storage. Interior areas were fitted with LED panels, reducing reliance on grid electricity generated through coal-based sources.

- Fuel Switch in Laboratory Drying Ovens: Gas-fired drying ovens were replaced with programmable electric ovens with precision controls, eliminating combustion-based heat sources and improving safety in sensitive R&D environments.

- Waste Heat Recovery & Energy Reuse

- Heat exchange coils integrated with HVAC systems to pre-warm incoming fresh air using exhaust stream, thereby reducing energy needed for temperature conditioning.

- Closed-loop chilled water systems in use for analytical instruments to reclaim and reuse thermal load efficiently.

- Lab-side heat-emitting instruments (e.g., lyophilizers, ovens) are strategically placed near work areas in winter to reduce space heating demand.

- Waste heat generated by air compressors in the utilities section is captured and redirected for pre-heating process water used in cleaning and rinsing cycles.

- In the manufacturing unit, steam condensate is collected and reused in preheating water for CIP (Clean-In-Place) systems and floor cleaning operations. This has helped cut down on fresh energy inputs.

- In solvent distillation and recovery processes, the residual heat from condensers is redirected to preheat incoming solvent feed or for warm water supply in auxiliary operations.

- Monitoring and Energy Accounting

- Monthly utility tracking dashboards maintained, comparing lab-wise consumption (kWh/unit activity).

- Separate metering for:

  - HVAC and process equipment

  - Lighting and general utilities

  - Cold storage & temperature-sensitive areas

- Energy performance indicators (EnPIs) set and reviewed quarterly to identify inefficiencies and improvement opportunities.

- Training and Awareness

- Staff trained annually on energy conservation habits:

  - Turning off idle equipment

  - Operating centrifuges and autoclaves only with full loads

  - Utilizing natural light when available

- Energy Awareness Week held annually to promote behavioral changes, with poster campaigns and feedback forums.

- Documentation

- Energy audit reports (internal & external)

- Utility consumption logs

- Equipment maintenance and upgrade records

- Fuel delivery and emission certificates for generators

- Annual energy and GHG reduction summary submitted to management

Continuous Improvement

- Exploration of onsite solar photovoltaic (PV) feasibility for rooftop installations.

- Engagement with energy efficiency consultants for benchmarking and audit every two years.

- Quarterly cross-departmental reviews on energy-saving innovations and pilot implementations.

- Sustainable Sourcing Manual

- Introduction

Praveen Laboratories is committed to responsible procurement practices that incorporate environmental protection, social equity, and ethical business conduct. As part of our broader ESG goals, this SOP outlines how we integrate sustainability risk assessments, inclusive sourcing, supplier audits, and social due diligence in all purchasing and supply chain decisions.

- Objectives

- Identify and mitigate environmental and human rights risks in our supply chain

- Promote ethical and inclusive sourcing practices

- Evaluate and engage suppliers based on sustainability performance

- Strengthen accountability for social issues like discrimination, harassment, and labor rights in supplier operations

- Key Sustainable Procurement Principles

- Adherence to Supplier Code of Conduct: All suppliers are required to review and comply with Praveen Laboratories’ Supplier Code of Conduct, which outlines expectations around ethical business practices, human rights, environmental compliance, and safe working conditions.

- Environmental Commitment: Preference is given to suppliers who demonstrate environmental stewardship by minimizing emissions, reducing hazardous waste, and promoting energy and resource efficiency throughout their operations.

- Social Responsibility: Suppliers must ensure ethical labor practices including safe working environments, fair compensation, prohibition of forced or child labor, and respect for employee rights and welfare.

- Supplier Diversity: Praveen Laboratories actively promotes partnerships with diverse suppliers, including those owned by women, minorities, and socially disadvantaged groups. Vendors certified by recognized diversity councils (e.g., MSME India - SC/ST/Women, WeConnect) are prioritized in the supplier selection process.

Suppliers are encouraged to self-declare their ownership status during onboarding, which is tracked as a measurable metric in our sustainability program.

- Governance and Ethical Procurement: Procurement decisions must remain free from bias, conflict of interest, or unethical conduct. Suppliers are expected to uphold high levels of transparency, accountability, and legal compliance.

- Supplier Evaluation and Engagement

Pre-Qualification and ESG Screening

- New suppliers are assessed for ESG compliance, diversity status, and ethical standards during onboarding.

- Onboarding forms require vendors to indicate ownership classifications and agree to the Supplier Code of Conduct.

On-Site Supplier Audits

- Audits are carried out periodically for strategic or high-risk suppliers to assess environmental, social, and occupational health practices.

- Audit findings are documented, and corrective action plans are shared with the supplier for timely implementation.

Worker Feedback from Supplier Sites

- Anonymous surveys are used to collect feedback from supplier employees regarding workplace safety, fair treatment, and grievance access.

- Survey insights help evaluate supplier alignment with our values and identify any risks or gaps.

Annual ESG Performance Reviews

- Active suppliers undergo annual evaluations based on sustainability KPIs, past audits, and survey feedback.

- Suppliers failing to meet expectations may receive warnings, be placed under observation, or have contracts discontinued.

Procurement Process Flow

| Step | Activity | Responsible Function |
| --- | --- | --- |
| 1 | Raise purchase request with sustainability requirements | Requesting Department |
| 2 | Screen suppliers for ESG & Code of Conduct compliance | Procurement |
| 3 | Review supplier diversity ownership and DEI status | Procurement |
| 4 | Share and collect signed Supplier Code of Conduct | Procurement |
| 5 | Conduct ESG risk screening and audits (if applicable) | Procurement + EHS |
| 6 | Evaluate supplier DEI practices annually | Procurement |
| 7 | Collect supplier worker feedback via surveys | Procurement / EHS |
| 8 | Approve vendor selection and shortlist | Procurement Head |
| 9 | Finalize contract with sustainability clauses | Procurement + Legal |
| 10 | Monitor KPIs and audit compliance regularly | Procurement / EHS |

- Supplier Development and Capacity Building

- Praveen Laboratories provides guidance to help diverse or under-resourced suppliers better understand procurement expectations and increase eligibility.

- We support women- and minority-led small enterprises to register for even low-value contracts.

- DEI awareness materials and invitations to training sessions may be extended to suppliers, focusing on inclusion, equal opportunity, and non-discrimination.

- Non-compliant suppliers are given structured feedback and monitored for progress during re-evaluations.

- Continuous Improvement

- Annual review of supplier ESG evaluation criteria and risk matrix

- Quarterly feedback loop from QA, EHS, and project teams on supplier behavior

- Supplier ESG training webinars (once per year for major vendors)

- Internal cross-functional Procurement & ESG roundtables to identify new goals and assess performance

# Customer Health & Safety Measures

- Introduction

Praveen Laboratories is committed to ensuring that our products and services are safe for clients, customers, and end-users. While we are primarily an R&D organization and not a commercial manufacturer, many of our outputs such as formulations, test samples, and analytical compounds may eventually be used in downstream applications. This SOP outlines the actions taken to manage customer health and safety risks across all applicable stages.

- Objectives

- To ensure all customers and downstream users are informed about potential health and safety risks associated with our products or services.

- To implement robust procedures for health impact identification, emergency response, and risk communication.

- To maintain transparency regarding product content and safety documentation.

- To evaluate emerging technologies (e.g., nanomaterials) for associated health risks.

- Customer Health & Safety Protection Measures

| Area | Measures Implemented |
| --- | --- |
| Product Safety Communication | Every product or formulation is accompanied by a Safety Data Sheet (SDS) and appropriate handling instructions, tailored per GHS standards. |
| Product Composition Disclosure | Key ingredients, excipients, solvents, stabilizers, and potential allergens are disclosed in technical data sheets or formulation documents. |
| Labeling & Hazard Identification | All sample labels and packaging bear GHS-compliant hazard symbols, precautionary statements, and expiration or stability dates. |
| Health Risk Assessment | A Customer Health & Safety Risk Assessment (CHSRA) is performed for all new R&D products or pilot samples prior to external release. |
| Customer Safety Guidance | Customers are issued a Product Use & Safety Information (PUSI) sheet which explains potential toxicology, irritation, environmental impact, and safety handling. |
| Recall and Incident Management | In the rare case of quality issues or adverse event reports, a Product Recall & Incident Response Procedure is in place to coordinate traceability, retrieval, and communication. |
| Storage and Handling Guidance | Clear instructions are provided on temperature control, reconstitution, dilution, and disposal, along with emergency first aid responses for spills or exposure. |

- Product Composition and SDS Provision

- A Safety Data Sheet (SDS) is created or adapted for every chemical product, intermediate, or formulation provided to external parties.

- SDS includes:

  - Chemical identity and composition

  - Hazard identification

  - Toxicological and ecological data

  - Storage and handling precautions

  - First aid, fire fighting, and spill response guidance

- SDS is updated annually or upon any formulation change.

- SDS is distributed digitally with each product shipment, and a copy is retained in the QA repository.

- Provision of Information on Product Composition

Praveen Laboratories ensures that detailed, accurate, and compliant information on the composition of all pharmaceutical and chemical products is made available to regulatory bodies, customers, and stakeholders. The following practices are implemented:

- Comprehensive Labeling and Documentation

- All products are labeled with full disclosure of active ingredients, excipients, preservatives, and known allergens as per regulatory requirements (e.g., CDSCO, WHO-GMP).

- For chemical reagents or reference standards, the chemical identity (CAS number), purity, and stabilizers are declared clearly on containers and CoAs (Certificates of Analysis).

- Batch-wise Composition Traceability: All final product compositions are linked to unique batch records stored digitally, enabling traceability and verification during recalls, audits, or pharmacovigilance investigations.

- Documentation for Clients and Regulatory Submissions: Detailed dossiers, including formulation compositions and analytical method validations, are provided to clients and regulators as part of product registrations and approvals.

- Provision of Information on Potential Health Impacts

To ensure safety across the value chain, Praveen Laboratories communicates known and emerging health risks associated with product use, handling, or exposure:

- Hazard Identification in Technical Literature: Each product’s technical data sheet includes a dedicated section on toxicological information, health hazard classifications (e.g., carcinogenicity, reproductive toxicity), and exposure limits.

- Risk-based Product Classification: Products are classified based on occupational exposure bands (OEBs) or risk categories (e.g., cytotoxic, irritant), and this classification is shared with relevant customers and handlers.

- Health and Safety Alerts for Critical Products: Products with significant health risks (e.g., teratogens, hormones, sensitizers) carry warning labels and are accompanied by handling protocols and PPE recommendations.

- Product Stewardship for End Users: User manuals or guides are issued with high-risk products, outlining safe handling practices, spill response, medical first aid, and disposal methods.

- Adverse Reaction and Incident Reporting: Clients are encouraged to report any health-related incidents linked to the use of products. A pharmacovigilance and chemical safety team reviews and documents each case to update safety guidance as needed.

- Employee Training on Product Health Risks: Internal safety briefings include overviews of product health hazards, particularly for new launches or newly procured chemicals, to prevent occupational exposure and misuse.

- Customer Awareness and Health Impact Information

- A Customer Safety Communication Program is in place, which includes:

  - Safety bulletins on product risks

  - Guidelines for safe usage and disposal

  - Email updates on emerging research or regulatory advisories related to product classes

- For potentially harmful compounds, clients are notified via Product Safety Information Sheets (PSIS) detailing:

  - Known or suspected carcinogenicity, reproductive toxicity, or endocrine disruption

  - Required lab-scale PPE and containment controls

- Clients working with experimental APIs are advised on occupational health surveillance or exposure monitoring practices.

- Health & Safety Risk Assessment for Customers

- Each new or reformulated product is evaluated using a Customer Health Risk Matrix considering:

  - Toxicity classification

  - Exposure likelihood during intended use

  - Hazard severity (acute vs. chronic)

  - Environmental persistence

- Risk levels are categorized as:

  - Low (safe under normal lab use)

  - Moderate (requires controlled lab settings)

  - High (requires restricted access or special approvals)

- Clients receiving high-risk products must sign an Acknowledgement of Risk Use Agreement.

- Documentation and Record-Keeping

- Client communications and acknowledgment forms

- SDS and PSIS master files

- Health risk assessments and product safety evaluations

- Recall response logs and emergency contact records

- Nanomaterial use tracking log (if applicable)

- Continuous Improvement

- Annual Client Feedback Surveys on product safety communication effectiveness

- Quarterly review of regulatory updates impacting labeling or disclosure requirements

- Proactive replacement of substances of concern with safer or non-toxic alternatives

- Internal and third-party mock recall drills every 2 years to ensure response readiness

# Recruitment Procedure

- Equal Opportunity Commitment

Praveen Laboratories is committed to being an Equal Opportunity Employer. Our recruitment process aims to attract and retain capable individuals who align with our values of integrity, innovation, and collaboration. We strive to recruit individuals whose goals align with the lab’s mission of scientific excellence and sustainability. The recruitment policy at Praveen Laboratories is designed to:

- Ensure fairness and transparency at every stage of the process.

- Avoid any discrimination based on gender, age, race, religion, or disability.

- Comply fully with all applicable employment laws and industry standards.

No candidate shall be recruited solely on the basis of recommendations or personal influence. All hiring decisions must follow the formal recruitment protocol outlined below.

- Employee Classification

Employees at Praveen Laboratories are categorized as follows:

| Grade | Description |
| --- | --- |
| M-5 to M-3 | Senior Management |
| M-2 | Manager |
| M-1 | Assistant Manager |
| E-4 | Senior Executive / Senior Group Leader |
| E-3 | Executive / Chemist / Group Leader |
| E-2 | Junior Executive / Assistant Chemist / Engineer |
| E-1 | Supervisor / Junior Chemist |
| TT | Staff Trainee / Technical Trainee |
| S-2 to S-1 | Security Staff |
| O-4 | Highly Skilled Workers (Multiskilled, assessed by HOD) |
| O-3 | Skilled Workers (assessed by HOD) |
| O-2 | Semi-skilled Workers |
| O-1 | Unskilled Workers |
| T | Trainees |

- Vacancy Identification

All recruitment activities are coordinated by the Human Resources (HR) Department. Recruitment shall begin only after:

- The vacancy is confirmed based on the organizational structure.

- A Manpower Requisition Form is completed and approved with proper justification.

- The necessary competencies, job role, and departmental needs are clearly established.

Vacancies may arise due to:

- Employee retirement

- Resignations or terminations

- Expansion of lab operations or restructuring

The Department Head must specify:

- Type of vacancy (permanent or temporary)

- Job description and responsibilities

- Reporting hierarchy

- Required qualifications, skills, and experience

- Pay grade and proposed compensation

For new roles, the Department Head must consult with HR to define required competencies and job expectations. CEO approval is mandatory for new positions.

- Sources of Recruitment

For Staff Positions

- Internal Promotions and Transfers: The HR team evaluates internal talent and advertises roles internally before seeking external candidates.

- External Recruitment Agencies: HR may engage registered agencies or portals (e.g., Naukri.com) to support talent acquisition.

- Job Advertisements: Openings may be posted externally after consultation with Department Heads and the CEO.

- Employee Referral Program: Employees are encouraged to refer candidates for approved vacancies.

- Campus Placements: HR maintains connections with educational institutions to recruit fresh graduates and trainees.

For Worker Categories

- O-1 and O-2 Grades: Typically hired through licensed contract agencies in compliance with the Factories Act, 1948.

- O-3 and O-4 Grades: May be recruited either through contractors or directly onto company payroll with HR approval.

  - Special approval from management is needed for:

    - Hiring O-1/O-2 workers on payroll.

    - Hiring beyond sanctioned strength for O-3/O-4 on payroll.

- Selection Process

A. Selection Committee Structure

| Grade | Final Interview Panel | Primary Interview Panel |
| --- | --- | --- |
| M-3 to M-5 | CEO, General Manager | Department Head, HR |
| M-1 to M-2 | General Manager | Department Head, HR |
| E-1 to E-4, TT | — | Department Head, HR |
| S-1 to S-2 | — | Department Head |
| O-1 to O-4, T | — | Department Head, HR |

- “Primary Interview Committee” handles initial assessments.

- “Final Interview Committee” makes the final hiring decision for senior roles.

B. Recruitment Steps

- Resume Screening: HR shortlists candidates based on qualifications and alignment with job requirements.

- Initial Evaluation (Primary Interview)

  - May include technical/aptitude tests.

  - Candidates must complete the Personal Assessment Form.

  - Evaluators use standardized rating sheets.

- Final Interview (for M Grades)

  - The Final Interview Committee reviews and recommends:

    - Job grade

    - Compensation package

    - Additional benefits (if any)

  - CEO approval is required for deviations from salary norms.

- Reference Verification

  - Conducted confidentially by HR for supervisory and managerial candidates.

  - Any negative findings are escalated to the Department Head or CEO.

- Appointment Process

  - After final selection, HR prepares an approval note and salary sheet.

  - Appointment letters are issued only after Final Committee approval.

  - Letters are signed by the HR Manager (up to M-2); CEO signs for M-3 and above.

  - Letters are distributed as follows:

    - Original: Candidate

    - Copy: Personal file (with acknowledgment)

- Timelines and Documentation

The entire selection process—from initial shortlisting to final appointment—must be completed within 15 working days post-interview. HR is responsible for:

- Maintaining proper records of evaluation sheets, interview notes, and approvals.

- Ensuring pay scale consistency in alignment with the company’s compensation framework.

- Identifying competency gaps and recommending training or onboarding plans.

- Employee Performance Evaluation and Career Progression     Framework

- Introduction

At Praveen Laboratories, our employees are the foundation of our innovation and operational success. This Standard Operating Procedure (SOP) outlines a structured system for evaluating employee performance and enabling career progression. The goal is to ensure objective, transparent evaluations and support employees in developing their potential in alignment with the lab’s mission and strategic goals.

- Purpose and Objectives

The performance and career advancement framework is designed to:

- Ensure Fair and Consistent Reviews: Apply a standardized and impartial evaluation process across all roles and departments.

- Support Employee Development: Link employee ambitions with organizational vision through personalized growth pathways.

- Use Comprehensive Performance Indicators: Combine measurable outcomes with qualitative competencies for a 360° view of performance.

- Encourage Constructive Feedback Culture: Promote regular two-way feedback, coaching, and skills enhancement.

- Ensure Legal and Policy Alignment: Follow internal guidelines and labor regulations to uphold equal opportunity and non-discrimination.

- Enable Data-Informed Talent Decisions: Maintain well-documented evaluation records to guide future development, succession planning, and training needs.

- Scope and Applicability

This SOP applies to all permanent and contract employees of Praveen Laboratories—across departments, functions, and designations. It includes:

- Scheduled performance appraisals (quarterly, biannual, or annual)

- Goal-setting sessions and Key Performance Indicator (KPI) tracking

- Career planning conversations

- Individual Development Plan (IDP) creation

- Training and upskilling initiatives

- Roles and Responsibilities

| Role | Responsibilities |
| --- | --- |
| Managing Director | Sets the strategic direction for people development and endorses key policy updates. |
| Department Heads | Monitor departmental performance, align team goals, and support staff growth. |
| HR Manager | Designs and implements the appraisal system, oversees training needs, and keeps records. |
| Lab Supervisors / Section Leads | Conduct regular performance discussions, monitor individual output, and report progress. |
| Employees | Engage actively in self-assessments, development programs, and feedback discussions. |

- Feedback and Communication Channels

To facilitate continuous performance dialogue and feedback exchange, the following communication channels are used:

- Internal Emails: Used for submitting self-assessments, requesting development support, and communicating appraisal schedules.

- One-on-One Review Sessions: Direct meetings between employees and supervisors allow open discussion on progress, goals, and expectations.

- Performance Review Templates: Pre-designed forms used during evaluations for consistency across departments.

- Suggestion Box and Anonymous Inputs: Channels for confidential improvement suggestions or feedback from staff.

- Evaluation Process Overview

- Goal Setting and Planning

  - KPIs and objectives are agreed upon at the beginning of the cycle.

  - Metrics may include productivity, quality of work, collaboration, innovation, and adherence to lab protocols.

- Mid-Year Review (Optional)

  - A check-in to assess progress and realign goals where needed.

- Annual Performance Review

  - Conducted with the employee, their immediate supervisor, and HR if required.

  - Review includes:

    - Self-Evaluation

    - Supervisor Assessment

    - Feedback from Peers or Cross-Functional Teams (where applicable)

- Rating and Recommendations

  - Each employee is rated using a standardized scale and narrative feedback.

  - Ratings are discussed transparently and signed off by all parties.

- Career Development Planning

  - High-performing individuals are identified for growth opportunities, lateral moves, or leadership grooming.

  - Employees with skill gaps are guided with an Individual Development Plan (IDP).

- Training and Development Support

Praveen Laboratories promotes ongoing learning by offering:

- Functional and technical workshops

- Soft skills and communication training

- Mentoring programs

- External certifications and sponsored learning (based on role needs)

- Cross-training opportunities for broader skill exposure

- Recordkeeping and Documentation

All performance-related data is securely stored by the HR Department in the employee’s digital file. This includes:

- Evaluation forms

- KPI dashboards

- Training participation logs

- Promotion or role-change justifications

- Career development plans

These records are used during reviews, audits, and for tracking developmental progress.

- Continuous Improvement Measures

The evaluation process is reviewed annually to:

- Refine evaluation criteria

- Integrate employee feedback

- Align with changing organizational needs

- Introduce new tools or formats for better efficiency and fairness

Periodic surveys and focus groups may be conducted to gather feedback from employees on the performance management process.

- Compliance and Fairness Assurance

All evaluations are conducted in a confidential, impartial, and respectful manner. Praveen Laboratories ensures:

- Equal evaluation opportunities for all staff, irrespective of gender, caste, religion, or background.

- Full adherence to Indian labor laws and internal HR policies.

- Regular internal audits to identify bias, gaps, or deviations from protocol.

Disputes related to appraisal results can be escalated to the HR Manager and, if unresolved, reviewed by a designated committee for fair resolution.

# Human Rights Protection Procedures

- Introduction

At Praveen Laboratories, we are firmly dedicated to safeguarding and promoting human rights throughout our operations, partnerships, and value chain. This Standard Operating Procedure (SOP) lays out our approach to identifying, mitigating, and responding to human rights concerns in a structured and responsible manner, in line with globally recognized frameworks and our internal code of ethics.

- Purpose and Objectives

- Uphold Ethical Business Conduct: Align all organizational activities with recognized human rights principles.

- Prevent Workplace Injustices: Actively eliminate risks of discrimination, child labor, forced labor, and harassment.

- Enhance Risk Awareness and Control: Conduct periodic evaluations to detect and manage human rights-related risks.

- Ensure Responsible Procurement: Strengthen due diligence in our supplier assessment and selection process.

- Foster Transparency and Accessibility: Provide secure and anonymous mechanisms for reporting human rights concerns.

- Drive Continuous Learning and Alignment: Regularly upgrade our policies in accordance with international human rights standards like the UN Guiding Principles on Business and Human Rights.

- Scope

This SOP applies to all employees, contractual staff, suppliers, and external stakeholders linked with Praveen Laboratories. It covers a wide range of rights-related concerns, including but not limited to workplace harassment, discrimination, coercion, hazardous working conditions, and violations in supply chain labor practices.

- Roles and Responsibilities

| Role | Key Responsibilities |
| --- | --- |
| Managing Director (MD) | Leads human rights strategy, endorses policies, and tracks organization-wide compliance. |
| Department Heads | Ensure departmental activities comply with our Human Rights Commitment. |
| HR Manager | Oversees training programs, manages grievances, and updates policy frameworks. |
| Operations and Maintenance Leads | Monitor working conditions and ensure alignment with safety and human dignity principles. |
| Procurement Manager | Implements ethical sourcing and supplier vetting mechanisms. |
| All Employees | Adhere to human rights policies and report any violations or risks. |

- Human Rights Risk Identification

- Internal Reviews: Evaluate operations, working conditions, and hiring practices.

- Supplier Assessments: Examine labor standards, wages, safety measures, and freedom of association.

- Stakeholder Engagement: Use surveys, site visits, and dialogue with vulnerable groups to spot risk indicators.

- Risk Register Maintenance:

  - Track all human rights-related risks with documented mitigation strategies.

  - Update the register quarterly with input from HR and Compliance teams.

- Supplier Due Diligence and Monitoring

- Pre-Engagement Screening:

  - All vendors must disclose labor practices and working conditions during onboarding.

  - Suppliers are scored based on use of fair labor, workplace safety, non-discrimination, and grievance redressal systems.

- Contractual Commitments:

  - Suppliers must sign a Human Rights Compliance Clause. Breach of the clause may lead to termination or blacklisting.

- Auditing and Corrective Action:

  - Regular assessments (internal or third-party) are conducted.

  - In case of non-compliance, Corrective Action Plans (CAPs) are developed with clearly defined milestones and follow-ups.

- Employee Awareness and Training

- Onboarding Orientation:

  - All new hires undergo training on Praveen Labs’ stance on human rights and related responsibilities.

- Role-Specific Training:

  - Tailored modules for field workers, lab staff, management, and procurement professionals.

- Periodic Refreshers:

  - Interactive sessions and real-world case studies delivered biannually.

  - Certifications are issued to employees upon successful completion.

- Feedback Integration:

  - Participants provide feedback which is used to revise and enhance training material.

- Reporting Channels and Grievance Redressal

- Anonymous Reporting:

  - Channels include a confidential email ID, suggestion box, and hotline monitored by the HR Department.

  - All reports are handled discreetly, protecting the identity of whistleblowers.

- Grievance Resolution Workflow:

  - Initial Acknowledgment: Within 24 hours of receiving a complaint.

  - Investigation Timeline: Grievances are investigated and resolved within 7 business days.

  - Investigation Steps:

    - Evidence collection

    - Internal interviews and department-level inquiry

    - Resolution and preventive action plan

  - Communication with Reporter:

    - Updates during the investigation

    - Closure report outlining resolution and steps taken

- Documentation:

  - Each grievance is recorded in a secure case log with status tracking.

- Recordkeeping and Documentation

All relevant documents are digitally maintained under HR’s secure system:

- Human rights training attendance

- Supplier audit reports

- Risk assessment logs

- Grievance case files and follow-up actions

This archive supports legal compliance and internal/external audits.

- Continuous Improvement

We actively review our human rights procedures to stay aligned with evolving laws, stakeholder expectations, and international norms. Tools include:

- Annual SOP reviews

- Inclusion of human rights metrics in internal audits

- Supplier feedback collection

- Employee surveys and focus groups

Insights from these mechanisms are used to enhance procedures and deepen our culture of respect and dignity at work.

- Legal and Ethical Compliance

Praveen Laboratories ensures that its human rights practices align with:

- United Nations Guiding Principles on Business and Human Rights (UNGPs)

- The International Labour Organization (ILO) conventions

- Local labor regulations and occupational safety laws

Internal and external audits are conducted to verify alignment and update procedures as necessary.

# Internal Communication Protocol

- Introduction

Clear and effective communication is essential to ensure alignment, coordination, and engagement among all teams at Praveen Laboratories. This SOP outlines a structured internal communication process to support seamless information flow, reinforce safety, and build a collaborative work environment.

- Purpose and Goals

This procedure aims to:

- Promote Timely and Accurate Communication: Ensure essential updates are promptly and clearly shared across departments.

- Enhance Staff Awareness and Participation: Keep employees informed of policies, performance updates, and company initiatives.

- Support Emergency Response: Establish swift communication pathways for incident alerts and operational disruptions.

- Leverage Communication Tools Efficiently: Utilize available platforms like email, digital displays, and internal meetings to facilitate two-way communication.

- Ensure Recordkeeping and Compliance: Maintain documented communication records for transparency and internal audits.

- Encourage Feedback and Process Refinement: Regularly assess communication practices based on team input and engagement outcomes.

- Scope and Applicability

This SOP applies to all full-time, contractual, and part-time employees of Praveen Laboratories. It governs communication through all internal media, including memos, notices, digital platforms, team meetings, and interdepartmental updates.

- Roles and Responsibilities

| Role | Primary Duties |
| --- | --- |
| Managing Director | Approves high-level communications and ensures alignment with company vision. |
| Department Heads | Oversee departmental messaging and ensure it aligns with operational needs. |
| HR & Admin Manager | Manages internal messaging systems, staff announcements, and records archiving. |
| Project/Team Leaders | Share project-specific updates and coordinate team-level communications. |
| EHS/Safety Officers | Disseminate safety alerts, hazard notices, and emergency protocols. |
| IT Support | Maintains communication systems and ensures accessibility across digital platforms. |
| All Employees | Stay informed, read updates, and provide feedback when requested. |

- Communication Channels

- Email Updates

  - Structured with clear subject lines and action points.

  - Company-wide emails are sent via official mailing groups (e.g., allstaff@praveenlabs.com ).

  - Important notices such as SOP changes, audit results, or safety warnings are prioritized for same-day communication.

- Notice Boards and Digital Displays

  - Located in labs, admin blocks, and common areas.

  - Used for safety guidelines, compliance notices, training schedules, and event updates.

  - Digital screens show real-time alerts during emergencies.

- Internal Messaging Applications (e.g., WhatsApp/Slack)

  - Department-specific groups are used for operational updates.

  - Professional tone is mandatory.

  - File sharing allowed for quick exchange of visual SOPs, schedules, or documentation.

- Intranet or Internal Drive

  - HR policies, SOPs, and lab safety procedures are uploaded for quick access.

  - Employees are encouraged to check updates weekly.

- Team Meetings & Lab Briefings

  - Weekly briefings are held to discuss ongoing work, shift handovers, and EHS updates.

  - Emergency briefings are conducted immediately following any critical incident.

  - Meeting summaries with action points are documented and circulated.

- Communication Process

- Drafting Messages

  - All internal communications must be fact-based, relevant, and concise.

  - Major announcements (e.g., compliance alerts, policy changes) require approval from HR or senior management.

- Distribution

  - Channel selection is based on urgency and audience.

    - Routine updates: via email or intranet.

    - Urgent alerts: via mobile apps, bulletin boards, and verbal announcements.

  - Communications are logged by HR for reference and audit purposes.

- Crisis Communication

  - Immediate alerts are issued in case of:

    - Fire, chemical spills, equipment failure, or medical emergencies.

  - The response team uses SMS, WhatsApp groups, and announcements to instruct staff.

  - A follow-up debrief is scheduled to ensure incident closure and learning.

- Event Communication

  - Invitations for sessions (e.g., training, audits, awareness programs) are sent with clear agendas.

  - Participation is tracked through attendance sheets or digital RSVP.

  - Feedback is collected after each major event to improve future communication.

- Documentation and Archiving

- All communications—emails, notices, meeting minutes—are securely stored in shared digital folders (e.g., company drive).

- The HR/Admin department maintains an archive with date stamps for audit readiness and transparency.

- Feedback and Improvement

- Employees are encouraged to provide feedback via email, forms, or suggestion boxes.

- HR evaluates feedback quarterly and shares insights with management.

- Adjustments to communication tools or protocols are made based on feedback.

- Regulatory Compliance

This protocol complies with the internal policies of Praveen Laboratories and is aligned with applicable communication and workplace transparency regulations. Regular internal reviews ensure compliance and continuous enhancement.

# Emergency Preparedness & Response for Environment, Health & Safety

- Objective

To establish and maintain procedures to identify potential foreseeable accidents/emergency situation to prevent and control, mitigation of Environment associated impacts and Occupational Health and Safety related Risk and to test effectiveness/review/revise such procedures periodically.

- Scope

This procedure is applicable to any fire, explosion or any other disaster leading to emergency situation, which means any significant, non–routine situation which endangers the personal, property, other interested parties or surrounding environments and neighbouring industries.

- Responsibility

| Role | Responsibility |
| --- | --- |
| EHS Department / Management Representative / HR Department | - Implementation of this procedure in emergency situations and ensuring effective response towards emergency situation. |
| Concern Department Head / Designee | - Implementation of this procedure in emergency situations and ensuring effective response towards emergency situation. |

- Procedure

- Organization has identified the possible emergency situations related to environment, health & safety at site as well as office.

- List of Emergency Contact Nos. & addresses of Nearest Hospitals, Fire Brigade, Police Station, Consulting physician doctor & Key personnel of the organization including Head – HR, MR & Concerned Department Head are maintained and displayed on the reception area / respective site office in case of emergency. The contact details are periodically reviewed for its adequacy.

- On declaring a major emergency, the siren fitted at Main Security gate shall be sounded by Security Officer / Security Guards on duty on receipt of order from Site Main Controller.

- Emergency Siren: Wailing sound means 30 seconds blow and 10 second off for 2 minutes.

All clear Siren: Continuous sound means continuous blowing for 2 minutes after control of emergency.

Note: As a part of periodic verification of siren working condition, every Monday at 11:00 am Siren will blow by Security Officer / Security Guards on duty on receipt of order from Site Main Controller.  Before siren testing same will be communicated to all concern departments HOD’s by HR/ EHS officer for further floating of communication to all.

During testing on every Monday at 11:00 am no need leave the work place.

- On-site Emergency Plan or Disaster Management Plant is prepared for the onsite activities as well as office by Concerned Department Head / MR for identified potential emergency situations clearly detailing responsibilities. While preparation of emergency plan, environmental impact with the activity and Occupational Health and Safety related Hazards are considered.

- Identification of potential accident and emergency situations while carrying out initial EHS review is carried out. The potential emergencies and the areas have been identified as Flood, Earth quake, Falling from height, Electric shock during working with electrical installations & connections, Fire during working with Electrical panel.

- The prevention, mitigation and corrective and preventive actions are detailed below for major type of foreseeable potential emergency such as Fire, Fall down, Electrical shock, Earth quake etc.

- Emergency helpline numbers available at security cabin.

| Location/ Person | Contact Numbers |
| --- | --- |
| PEPL Fire Brigade, Palsana | 7575005850, 7575005860 |
| Fire Brigade, Surat Control Room | (0261) 2414195/96/39 |
| Fire Brigade, Bardoli | (02622) 220101 |
| Fire Brigade, Kapodara | (0261) 2571388 |
| Police station, Kadodara | (02622) 282035 |
| Police station, Palsana | (02622) 264227 |
| Modi Hospital, Kadodara | (02622) 273333 |
| Sanjeevani Hospital, Chalthan | 7220052009, (02622) 281184 |
| Nearest Emergency Ambulance | 108 |
| Mr. Hetul Mehta (MD) | 98251 15032 |
| Mr. Kamal Bhowmick (GM) | 90998 11167, 7016852516 |
| Mr. Nilesh Devadhara (DGM) | 98796 16875 |
| DGM Production | 6352895406 |
| Engineering In-charge | 6352896428, 7874746284 |
| Warehouse In-charge | 8155909956, 7016122550 |
| HR Executive | 8200468188 |
| Safety In-charge | 8000661619, 7069549567 |

- Fire :

- Prevention

- Keep fire extinguishers well maintained.

- To ensure that training regarding use of fire fighting equipment to concerned employee / security guards are provided.

- Mitigation

- Any person noticing fire shall pass on the information through phone/messenger to Security personnel at main gate and concerned site supervisor & reception area at office

- Use suitable fire fighting equipment. (Fire extinguishers)

- If fire cannot be put off or if fire is noticed when it has erupted in big way then takes help from Local fire fighting team.

- Immediate evacuation of the fire affected area & assembled at safe assembly point. Never use lift while rushing to the assembly point. Use stair case only.

- Cordon off the area and do not allow people to come near the fire.

- Switch off electricity near the place of fire, if necessary.

- Take appropriate action for mitigation of environmental impact due to fire.

- Electric shock / short – circuit

- Prevention

- Avoid working without proper safety equipment’s.

- Provide Rubber mat below all Panel boards

- Display the appropriate safety signage such as – Danger, High Voltage etc. for awareness.

- No loose connection or temporary joint shall be used.

- Proper earthing to be provided.

- Don’t make efforts to resolve any technical or electrical fault if you are not aware of.

- Appropriate safety devices such as MCB, ELCB etc. to be provided.

- Mitigation

- Ensure at least 2 – 3 personnel are trained for First aid related to Electrical shock

- In case of sudden shock, first of all cut off the power supply

- Detach the affected personnel from the source of the electric supply

- Provide him / her immediate First aid treatment by a trained person only.

- Earthquake

- Mitigation

- Immediately rush to the open ground from the nearest emergency exit/entry door.

- Inform others also if they failed to realize the magnitude or effect of the Earthquake.

- Never use the lift while rushing.

- Always use staircase.

- Common Corrective and Preventive Action for all nature of emergency situation

- Analyze the causes of occurrence of the fire and prepare a report specifying measures to be taken to prevent recurrence of the incident.

- Document corrective and preventive actions arising out of this incident in the corresponding applicable procedures.

- Communicate about the incident to the regulatory authorities in the prescribed form mentioned.

- Thunder Storm/ Rain Storm/ Dust Storm

- Mitigation

- Immediately rush Inside the Plant from the nearest emergency exit / entry door.

- Inform others also if they failed to realize the magnitude or effect of the Storm.

- Never be on the outside area, Close Shutters, Stick Tape on Glasses marking ‘X’ where assembled.

- Stay Away from Electrical Wires.

- Common Corrective and Preventive Action for all nature of emergency situation

- Analyze the causes of occurrence of the Storm and prepare a report specifying measures to be taken to prevent recurrence of the incident.

- Document corrective and preventive actions arising out of this incident in the corresponding applicable procedures.

- Communicate about the incident to the regulatory authorities in the prescribed form mentioned.

- Occupational Accidents

- Electrical shocks / Slips Trips, fall, and Accidents.

- Concerned Department Head & Safety Officer carries out Bi-Monthly Mock Drills of emergency situations, where practicable and keeps records

- Even the emergency siren code is identified in Site Map and displayed near Main Gate & inside the Plant at all the floors for the easy access and identification at the time of emergency.

- Review and Disposition

- The onsite emergency plan shall be reviewed and revised Once in 3 Year and all the findings or changes are maintained.

- Abbreviations:

EHS: Environment Health & Safety

MCB: Miniature Circuit Breaker

ELCB: Earth-leakage circuit breaker

MR: Management Representative

# Sensitive Transaction Approval and Management Protocol

- Introduction

Praveen Laboratories is committed to executing all sensitive transactions with integrity, transparency, and regulatory alignment. This SOP defines the formalized process for identifying, evaluating, and approving transactions that may involve financial risk, reputational exposure, or ethical concerns. These protocols are designed to protect the organization’s interests and promote a culture of accountability.

- Objectives

- To establish a standardized and traceable approach for handling sensitive transactions.

- To prevent undue influence or bias during transactional decisions.

- To streamline the approval process while maintaining thorough oversight.

- To ensure consistency, documentation, and compliance across departments.

- Responsibility

| Role | Responsibility |
| --- | --- |
| Initiator / Department | Prepares the transaction proposal with justifications, risk analysis, and documents. |
| Finance & Legal Teams | Conduct financial, legal, and compliance reviews; assess risk and stakeholder influence. |
| Senior Management / Board | Reviews and approves high-risk or high-value transactions; ensures strategic alignment. |

- Applicability and Scope

This protocol applies to all personnel involved in initiating, reviewing, or authorizing sensitive transactions. Covered transactions include—but are not limited to—those involving high-value contracts, gifts or favors, non-standard concessions, or any exchange that could influence procurement or operational decisions.

- Approval Process and Procedures

Initiation

Every sensitive transaction begins with the initiator—an employee, department head, or project team—submitting a comprehensive transaction proposal. The proposal must clearly articulate the transaction’s purpose, strategic justification, potential benefits, and associated risks. It must include supporting documentation such as draft contracts, cost breakdowns, market intelligence, risk assessments, and stakeholder analysis. No transaction proceeds without this initial documentation being complete and verified.

Preliminary Review

Upon submission, the proposal undergoes a departmental-level evaluation led by the respective Department Head. The objective is to ensure the transaction aligns with functional objectives, complies with internal norms, and does not present immediate red flags. This review emphasizes operational feasibility, alignment with budgets, and ethical neutrality. Constructive feedback is provided where necessary, and only proposals that meet all department-level expectations are forwarded to Finance and Legal for advanced scrutiny.

Due Diligence and Compliance Checks

The Finance and Legal teams conduct a joint due diligence process, covering:

- Financial Soundness: Evaluation of immediate and long-term financial implications.

- Regulatory Compliance: Verification of adherence to legal statutes, tax implications, and contract law.

- Risk Exposure: Identification of reputational, operational, and stakeholder risks.

- Conflict of Interest: Confirmation that no personnel or external partner stands to gain unfairly from the transaction.

Any transaction presenting unresolved legal issues or ethical concerns is escalated for higher-level review or rejection. The compliance team flags any perceived irregularities and documents remedial actions.

Approval Based on Transaction Tier and Risk

Transactions are approved based on their financial value, nature, and strategic impact:

- Low-Tier Transactions (≤ ₹1000): Approved at the departmental level. These involve minimal risk and routine operational scope.

- Medium-Tier Transactions (₹1000–₹5000): Require written justification, financial endorsement, and cross-verification by Finance. These may involve modest financial or reputational exposure.

- High-Tier Transactions (> ₹5000 or high-risk): Must be reviewed and sanctioned by Senior Management or the Board. These include complex agreements, high-value transfers, or sensitive third-party engagements.

Additionally, non-monetary exchanges such as in-kind contributions, professional favors, or services are assessed through qualitative evaluation, especially if they carry reputational or strategic risk. These are subject to Senior Management review if deemed significant.

- Final Authorization and Execution

Upon full approval, the execution team is authorized to proceed with the transaction. Execution includes completion of legal formalities, fund transfers, partner coordination, and receipt confirmation. A Final Transaction Record is compiled, containing:

- Signed approvals

- Due diligence summaries

- External communications

- Compliance validation

- Post-execution financial reconciliation

All records are stored digitally in the ERP system and backed up as part of the compliance archive. No transaction is considered complete until a closure report is reviewed and archived.

- Documentation

All sensitive transaction data is digitized and stored securely in the organization's ERP platform. This includes:

- Approval history and timestamps

- Names of approving authorities

- Risk and compliance records

- Stakeholder details Backups are created monthly to ensure data security and audit readiness.

- Continuous Improvement

The process is subject to regular improvement through internal audits, external evaluations, and employee feedback. Findings are used to revise thresholds, streamline review stages, and enhance system reliability.

# Confidential Data Management and record retention

- Introduction

At Praveen Laboratories Pvt. Ltd., we are firmly committed to protecting all confidential information and managing organizational records responsibly. This SOP defines the processes and responsibilities for handling, storing, and disposing of sensitive data in accordance with applicable legal obligations and internal operational standards. It ensures secure data governance practices throughout the data lifecycle.

- Objectives

- To obtain informed and explicit consent from all stakeholders before processing, retaining, or sharing their confidential data.

- To ensure robust protection of third-party information using strong digital security measures such as encryption and multi-factor authentication, alongside comprehensive physical safeguards.

- To maintain a clearly defined and legally compliant data retention schedule aligned with statutory, financial, and regulatory requirements.

- To promote transparency by proactively informing stakeholders about how their data is collected, used, stored, and shared.

- To establish internal controls that strictly limit unauthorized access to sensitive data across all departments and functions.

- To periodically review and enhance data management protocols in line with changes in regulations and business needs.

- To provide well-defined support channels to address stakeholder queries related to data privacy and record handling.

- To ensure that records are securely destroyed once their prescribed retention period has elapsed, using methods that prevent recovery or misuse.

- Applicability & Coverage

This SOP is applicable to all personnel of Praveen Laboratories Pvt. Ltd., including full-time employees, contractors, consultants, and third-party service providers involved in handling any form of confidential, operational, customer, or business data. It covers both digital and physical data formats and applies across all company sites—including head offices, branch facilities, R&D centers, production units, and remote work locations. The procedure supports compliance with internal policies, sectoral regulations, and international standards under both normal operations and emergency conditions.

- Organizational Responsibilities

| Designation | Primary Responsibility |
| --- | --- |
| Chief Executive Officer (CEO) | Defines the strategic direction for company-wide data governance and ensures regulatory compliance. |
| Director | Provides leadership for cross-functional policy implementation and monitoring. |
| Executive Director (Commercial Administration & Liaisoning) | Leads external communications and ensures proper consent management with stakeholders. |
| Project Head | Safeguards data within project operations. |
| Manager – HR & Administration | Manages employee records and internal consent processes. |
| Manager – Production | Responsible for data security and retention in production departments. |
| Head of Department (QA/QC/R&D) | Ensures compliance of technical and scientific documentation with regulatory expectations. |
| Manager – Accounts | Maintains and secures all accounting-related records. |
| Manager – Maintenance & Utility | Manages sensitive operational logs and technical documentation. |

- Measures for Gaining Stakeholder Consent

- Clear and Informed Consent Collection: Consent forms issued by Praveen Laboratories Pvt. Ltd. clearly outline the purpose, scope, and duration of data processing. These forms are written in plain language to ensure stakeholders fully understand how their information will be handled, including the involvement of any third parties. Each form also highlights the stakeholder’s rights, including their ability to withdraw consent at any time.

- Multi-Channel Consent Capture: Consent is collected through various secure platforms, including company portals, mobile apps, and in-person engagements. Each instance is recorded with a timestamp and stored safely, enabling a traceable audit trail and ensuring accessibility across systems.

- Digital Consent Management: All consents are recorded within our centralized data systems, which allow controlled access and real-time tracking. Role-based permissions are enforced to prevent unauthorized modification and ensure compliance with data protection laws.

- Periodic Consent Review: Stakeholder consents are periodically reviewed to ensure they remain valid. When changes to our data practices occur, stakeholders are informed and asked to reaffirm or update their consent accordingly.

- Withdrawal Process: Stakeholders may withdraw their consent at any time through a simple and defined procedure. All requests are logged, processed without delay, and acknowledged to the concerned individual.

- Awareness and Communication: We engage stakeholders through educational materials such as policy updates, FAQs, and training sessions to keep them informed about how their data is managed and their rights under applicable regulations.

- Compliance and Oversight: The Compliance Team conducts routine checks to verify that consent collection and management practices align with legal and internal standards. Any gaps identified are addressed promptly through corrective actions.

- Operational Process for Consulting and Informing Stakeholders

- Transparent Stakeholder Communication: Praveen Laboratories provides stakeholders with clear and accessible information about how their data is collected, used, stored, and shared. This is communicated via the company website, formal emails, and direct consultations, enhancing understanding and trust.

- Open Documentation: Detailed data handling documentation is maintained and made available to stakeholders upon request. This includes our policies on collection, retention, sharing, and disposal, offering full transparency into our data management framework.

- Support & Inquiry Resolution: We have dedicated support channels in place to address data-related inquiries. Trained personnel provide timely, accurate responses to any concerns raised by customers, employees, or partners.

- Ongoing Review and Policy Updates: Our consent and communication practices are regularly reviewed and updated to remain aligned with evolving legal and operational requirements. Any significant updates are communicated promptly to relevant stakeholders.

- Multi-Channel Information Sharing: Consistent with our transparency-first approach, we use multiple communication methods—including digital platforms and direct meetings—to keep stakeholders informed about the lifecycle of their data. This encourages mutual understanding and accountability.

- Measures to Protect Third-Party Data

- Strict Role-Based Access Controls: Access to sensitive information is strictly governed through role-based access permissions. Only authorized personnel with a verified need are granted access, ensuring controlled exposure of confidential data such as client information, supplier data, and operational inputs.
Our digital infrastructure employs multiple security layers—encryption, secure servers, and multi-factor authentication—to prevent unauthorized access.

- Physical Security Infrastructure: In addition to digital safeguards, strong physical security measures are enforced at all locations where confidential records are stored. These areas, including server rooms and record archives, are protected using biometric access controls, access ID cards, and CCTV surveillance, with entry limited to pre-approved individuals.

- Employee Awareness and Monitoring: Employees are trained routinely on data protection protocols and their roles in maintaining confidentiality. Audit logs, intrusion detection systems, and real-time alerts are in place to monitor any anomalies or potential data breaches, enabling prompt action when needed.

- Internal Controls to Restrict Data Access

- Digital Access Management: Our IT environment features advanced security protocols including multi-factor authentication, user-specific access control, and continuous threat monitoring. All access is logged, reviewed, and restricted strictly to employees whose duties require data interaction. Software updates and vulnerability patches are applied regularly.

- Physical Access Restrictions: Entry to physical data repositories is tightly regulated. Access badges, biometric scanners, and 24/7 video monitoring systems are used to enforce restricted access. Only designated personnel may enter these areas, reducing the risk of unauthorized handling.

- Comprehensive Audit and Oversight: Regular audits—both internal and external—are conducted to evaluate access control effectiveness and detect vulnerabilities. Audit trails are maintained through system-generated logs and are reviewed frequently to identify suspicious access patterns or policy violations.

- Record Retention Schedule

| Document Type | Retention Period |
| --- | --- |
| Employee Records | 5–7 years after end of employment |
| Financial & Audit Documentation | 7 years |
| Customer & Vendor Contracts | Duration of contract + 5–7 years |
| Legal & Compliance Files | As per regulatory requirements |
| Health & Safety Reports | 5 years |
| Internal Communications | 1–3 years depending on relevance |
| Purchase Orders & Invoices | 8 years |
| Quality Control Records | 5 years |
| Equipment Maintenance Logs | 5 years |
| Environmental Monitoring Reports | 3 years |
| Regulatory Filings (e.g., FDA, DCGI) | 10 years or as per applicable regulations |
| Training Records | 3 years |
| Incident Reports (Safety & IT) | 5 years |
| Consent Forms (Employee & Third Party) | 7 years or until withdrawn |
| ERP Transaction Logs | 3 years |

- Continuous Improvement

We maintain a proactive approach to strengthening our data governance systems. Internal audits are conducted periodically, complemented by comprehensive annual external reviews. Feedback from employees is actively sought to identify process inefficiencies or potential vulnerabilities. Insights from these reviews are used to improve retention schedules, update access controls, and strengthen system defences, ensuring our practices remain effective and compliant with evolving regulations.

# Incident Response Procedure

- Introduction

Praveen Laboratories is committed to the responsible management of confidential, sensitive, and proprietary information across all operations. This SOP outlines the protocols and controls in place to ensure information security, data protection, and stakeholder trust covering internal practices, third-party oversight, and regulatory obligations.

- Objectives

- Safeguard confidential business, customer, and research data from unauthorized access or misuse.

- Establish due diligence, monitoring, and mitigation strategies for information-related risks.

- Provide a structured response to security incidents and ensure legal and ethical data handling.

- Maintain trust with clients, regulators, employees, and business partners through secure data practices.

- Scope & Applicability

This SOP applies to all employees, contractors, interns, and third-party vendors who collect, process, store, or manage information on behalf of Praveen Laboratories. It covers paper-based records, digital data, cloud-based systems, and any device or platform used to handle sensitive information.

- Incident Response Procedure

Step 1: Immediate Action by First Responder

The first employee who identifies a potential breach must:

- Treat Every Incident Seriously: Do not dismiss or delay reporting any suspected breach.

- Contain the Breach (If Possible):

  - Disconnect affected devices/systems from the network.

  - Secure accounts (e.g., change passwords, lock access).

  - Halt any ongoing data transmissions.

- Notify the Incident Response Team (IRT): Use the emergency protocol (e.g., helpline, email, or internal reporting tool).

- Document Key Details:

  - Date and time of detection.

  - Affected systems or data.

  - Steps already taken.

  - Impacted teams or individuals.

- Preserve Evidence: Avoid altering any system settings or files.

Step 2: Action by Incident Response Team (IRT)

Upon notification, the IRT must:

- Assess the Severity: Classify the incident as High, Medium, or Low severity.

  - High Severity: Escalate to senior management; activate full Incident Response Plan (IRP).

  - Medium/Low Severity: Conduct limited investigation and containment; document findings.

- Contain the Breach:

  - Block unauthorized access.

  - Isolate affected systems or devices.

  - Secure any compromised areas or assets.

- Collect Evidence: Preserve logs, emails, and other relevant data for investigation and compliance.

- Notify Stakeholders:

  - Internal: Inform HR, Legal, and senior management.

  - External: Notify affected customers or partners and provide guidance on protective actions.

- Escalate if Required: Engage cybersecurity experts or law enforcement in case of major breaches or suspected criminal activity.

Step 3: Communication Protocols

- Internal Communication:

  - Send clear updates to employees on the nature of the breach and required actions.

  - Reinforce confidentiality to prevent misinformation or panic.

- External Communication:

  - Notify customers or third parties if their data is involved.

  - Share a brief of the breach, actions taken, and support channels (e.g., helpline, FAQs).

Step 4: Legal and Compliance Coordination

- Legal Team:

  - Evaluate the need for regulatory reporting (e.g., GDPR, national data laws).

  - Assess legal risks and help draft compliant external communications.

- Compliance Team:

  - Ensure adherence to all internal policies and external regulations.

  - Support regulatory disclosures and post-incident documentation.

- Continuous Improvement

Following the resolution of each incident, a detailed post-incident review is conducted to identify root causes, response gaps, and opportunities for improvement. Lessons learned are documented and integrated into updated protocols, training modules, and technical safeguards. The IRT collaborates with relevant departments to revise policies and enhance system resilience. Regular simulations and audits are also carried out to ensure preparedness. This iterative process strengthens organizational response capabilities and ensures a proactive approach to evolving cybersecurity threats.

# Internal Assessment Procedure

- Purpose

The purpose of this procedure is to define and institutionalize a structured, transparent, and organization-wide approach for conducting internal assessments at Praveen Laboratories. These assessments help evaluate the effectiveness of internal controls, policy implementation, and regulatory compliance, while promoting operational integrity and continuous improvement across all key functional areas.

- Scope

This SOP applies to all departments and operational units of Praveen Laboratories and governs the conduct of annual internal assessments on key thematic areas, including but not limited to:

- Corruption and Anti-Bribery Controls

- Labor Practices and Human Rights

- Occupational Health & Safety (OHS)

- Information Security and Data Confidentiality

- Discrimination, Harassment, and Whistleblower Protections

- Employee Satisfaction survey on Working Condition

These assessments are aligned with applicable legal requirements, ISO standards, client expectations, and internal policies.

- Roles and Responsibilities

- Internal Audit Coordinator (IAC): Responsible for planning, designing, distributing, collecting, reviewing, and reporting on all internal assessments, including scheduling and stakeholder communication.

- Department Heads and Line Managers: Ensure that departmental responses are completed accurately and submitted on time; coordinate corrective actions where gaps are identified.

- Compliance, QA, EHS, HR, and IT Teams: Act as technical reviewers for theme-specific assessments; provide regulatory references and assess responses from a compliance standpoint.

- Management Review Committee (MRC): Reviews assessment findings annually, validates strategic risks, and oversees policy changes and CAPA implementation across departments.

- Procedure

      - Annual Planning

Each year in January, the Internal Audit Coordinator prepares the Annual Internal Assessment Plan, identifying the thematic areas to be assessed across the organization. The plan is reviewed and approved by the Senior Management Team and aligned with regulatory calendars, client expectations, and audit preparedness needs.

      - Design of Assessment Tools

A standardized Internal Assessment Questionnaire or Form is developed for each focus area. The forms are reviewed and updated annually in collaboration with functional experts and include:

- Objective questions (Yes/No/NA)

- Subjective questions (scored on 1–5 scale)

- Comments and observations fields

- Declaration of accuracy and approval by the responsible manager

      - Rollout and Communication

The finalized assessment forms are distributed to department heads and relevant staff members via email or internal platforms. Employees are informed about the importance of timely and accurate participation. A deadline of 10–15 working days is set for submission. Anonymous formats are used for assessments related to corruption, discrimination, or whistleblower safety.

      - Review and Analysis

Upon collection, all completed assessments are reviewed by the Internal Audit Coordinator and cross-functional reviewers. Clarifications are requested where inconsistencies or missing data are observed. Each department is scored on key parameters such as policy awareness, compliance rate, documentation completeness, and risk exposure.

Findings are categorized as:

- Fully Compliant

- Partially Compliant

- Non-Compliant

Detailed observations are supported by audit trails, records, or visual evidence where applicable.

      - Reporting and Departmental Scorecards

A department-wise compliance report is prepared and shared within 15 working days of assessment closure. The report highlights:

- Compliance percentage

- Gaps and non-conformances

- Observations and commendable practices

- Recommended corrective and preventive actions

Each department receives a tailored scorecard and executive summary.

      - Corrective Action and Tracking

For any non-compliance or identified weakness, the concerned department must prepare and submit a Corrective and Preventive Action (CAPA) Plan within 10 working days. All CAPA items are logged in a centralized tracker and assigned clear timelines and responsibilities.

Progress updates are monitored monthly by the Internal Audit Coordinator, and critical gaps are escalated to the Compliance Officer or Senior Management.

      - Final Consolidation and Review

At the end of each assessment cycle, a consolidated Internal Assessment Summary Report is presented during the annual Management Review Meeting. The summary includes:

- Overall compliance trends

- High-risk areas requiring strategic focus

- Confidentiality

All internal assessments—particularly those involving sensitive issues such as corruption, harassment, or whistleblower concerns—are treated as confidential. Access to completed assessments and supporting evidence is restricted to the Internal Audit Coordinator, Compliance Officer, and Senior Management.

- Continuous Improvement

The internal assessment process is reviewed annually to incorporate lessons learned, feedback from departments, and external audit recommendations. Assessment formats, scoring logic, and timelines may be refined to improve relevance, clarity, and effectiveness. Training and awareness sessions are conducted annually to improve the quality and engagement level of participants.

- Third-Party Ethical Compliance Due Diligence

- Introduction

Praveen Laboratories is dedicated to upholding the highest ethical standards in its business practices, especially when working with third-party entities such as suppliers, service providers, vendors, and contractors. This SOP outlines the procedures to assess, monitor, and manage third-party compliance with ethical, legal, and sustainability benchmarks.

- Purpose and Objectives

This procedure ensures:

- Responsible Third-Party Onboarding: A defined framework for evaluating new partners’ ethical alignment.

- Risk Mitigation: Identification and control of risks related to unethical practices like bribery, unsafe labor, and data breaches.

- Promotion of Sustainable Practices: Verification that suppliers align with human rights norms, labor regulations, and environmental values.

- Data Security Assurance: Confirmation that data privacy safeguards and information security standards are upheld.

- Transparency in Record-Keeping: Secure documentation of assessments, audits, and decisions.

- Ongoing Ethical Oversight: Regular assessments and incident management mechanisms to ensure sustained compliance.

- Scope

This SOP applies to all departments at Praveen Laboratories involved in engaging third parties, including procurement, administration, operations, and finance. It applies to both new and ongoing engagements.

- Roles and Responsibilities

| Designation | Core Responsibilities |
| --- | --- |
| Managing Director | Endorses ethical engagement policies and monitors high-level compliance. |
| Operations Director | Coordinates implementation of vetting procedures and aligns them with company ethics. |
| Head – Commercial & Liasoning | Manages communications and clarifies third-party obligations and expectations. |
| Project Manager | Verifies ethical conformity for project-specific third-party involvement. |
| HR & Admin Manager | Checks labor and human rights compliance in third-party employment practices. |
| Procurement Head | Leads ethical screening during vendor selection and maintains supplier compliance data. |
| Finance & Accounts Manager | Evaluates financial transparency, monitors for fraud risks, and confirms regulatory standing. |

- Third-Party Evaluation Process

A. Initial Review Areas

- Integrity & Anti-Corruption

  - Review for past allegations or violations involving bribery or unethical inducements.

  - Confirm adherence to anti-corruption policies and applicable laws.

- Fair Labor & Human Rights

  - Check compliance with child labor and forced labor laws.

  - Examine working condition standards and employee protection policies.

- Environmental Stewardship

  - Review waste management, emissions control, and certification (e.g., ISO 14001).

  - Assess commitment to environmental best practices.

- Information Security & Data Protection

  - Verify policies for handling confidential and sensitive data.

  - Require industry-recognized certification (e.g., ISO 27001 or equivalent).

- Occupational Health & Safety

  - Confirm third party follows safety laws and implements adequate safety protocols for its staff.

B. Risk Profiling and Benchmarking

- Gather records like company policy documents, audit reports, certifications, and grievance logs.

- Benchmark findings against regulatory standards, Praveen Laboratories’ policies, and sectoral norms.

- Rate each third party based on risk categories: Low, Moderate, or High.

C. Documentation Requirements

Vendors must submit:

- Anti-Corruption Policy

- Labor and Human Rights Policy

- Environmental Certification or Commitment Statement

- Occupational Health & Safety Manual

- Data Privacy Policy or Certification

All submissions are reviewed and stored securely by the Procurement and Compliance Teams.

D. Ethical Risk Evaluation Criteria

| Category | Review Focus |
| --- | --- |
| Fraud & Corruption Exposure | History of unethical practices or questionable legal standing |
| Labor Compliance | Use of subcontractors, fair wages, grievance mechanisms |
| Environmental Responsibility | Waste management, emissions, resource conservation |
| Data Risk | Encryption standards, employee confidentiality training |
| Safety Management | PPE protocols, incident response capability, past injury records |

E. Engagement Approval

- All third-party engagement decisions are made by a cross-functional review panel including Admin, Procurement, and Finance leads.

- Final approvals are documented in the central supplier register with associated due diligence findings.

F. Monitoring and Audit

- Annual On-Site Reviews: Conducted to verify adherence to ethical, safety, and environmental standards.

- Self-Assessment Forms: Required yearly from each vendor, reviewed by procurement and HR.

- Random Spot Checks: Conducted if red flags emerge or if significant operational changes occur.

- Ethical Incidents: Third parties must report any data breach, safety incident, or human rights violation within 24 hours.

G. Incident Reporting & Response

- Incident Logging: Every reported issue is recorded in the Third-Party Ethics Case Register.

- Action Planning: Mitigation steps are agreed upon with the vendor and tracked for resolution.

- Escalation Protocol: High-risk or unresolved cases are escalated to the Ethics Compliance Team and may lead to contract termination.

H. Record Maintenance

- All ethical review records, checklists, correspondence, incident logs, and certifications are digitized and stored in the vendor management system.

- Records are retained for a minimum of 5 years or as required by applicable legal statutes.

- Continuous Improvement

- Vendor onboarding criteria and screening methods are reviewed annually.

- Findings from internal audits and supplier feedback drive improvement in assessment processes.

- Staffs involved in third-party oversight are regularly trained on ethics, procurement transparency, and compliance trends.

- Compliance

This procedure complies with Indian business ethics regulations and aligns with international standards like the UN Global Compact, ISO 37001 (anti-bribery), and SA 8000 (social accountability). Deviations or non-conformance are subject to corrective actions and review.

SOP MANUAL REVIEW AND ACKNOWLEDGEMENT

At Praveen Laboratories Pvt. Ltd., all SOPs undergo an annual review to ensure compliance with regulatory updates, operational changes, and audit findings. Additionally, SOPs are reviewed on an as-needed basis following process modifications, introduction of new equipment, regulatory changes, or incident reports. Updates are documented with version control, and revised SOPs are re-issued after internal approval to ensure accuracy and relevance.

The QA/Compliance team is responsible for initiating the review cycle, while Department Heads conduct the evaluations and propose changes. Employees are required to acknowledge updated SOPs to confirm understanding and implementation

Effective date : 01-09-2024	   					       Rev. No. 1.0

Last Review Date: 01-01-2025		   		Next Review Date: 01-01-2026

Acknowledgement

|  | Prepared By | Reviewed & Approved By |
| --- | --- | --- |
| Name |  | Hetul Mehta |
| Designation | EHS Manager | Managing Director |
| Signature |  |  |
| Date | 01-01-2025 | 01-01-2025 |